Federal Agency: Army

Office: Army Contracting Command — Detroit Arsenal (ACC-DTA)

AoI Title: Army Museum Enterprise (AME) - Environmental Monitoring Service

CSO AoI Number: AoI 007_Amendment 2

AoI Release Date: 22 April 2026

Responses: See W912CH-25-S-C001, Amendment01 for Procedure Details

1. General Information

1.1	Introduction

This Area of Interest (AoI) is issued utilizing the ACC‑DTA Commercial Solutions Opening (CSO) W912CH-25-S-C001, Amendment 01. The Center of Military History (CMH) and the AME seek proposals for support services to provide a complete environmental monitoring system. This procurement requires the contractor to provide a contactless, Long Range, Wide-Area Network (LoRaWAN)-based system, museum-specific solution for all thirty-three (33) AME collection locations, four (4) Technical Support Facilities (TSF), two (2) Museum Support Centers (MSC), and one (1) Headquarters Archives. The Government will not exercise any supervision or control over the contract service providers. Offerors shall provide a detailed narrative demonstrating their organizational capacity and a proven record of delivering effective, efficient services comparable in scope of this requirement. The narrative must include specific examples of service delivery models, internal quality control measures, and a summary of historical performance metrics achieved for clients of comparable size, complexity and specialty.

This CSO AoI seeks to solicit innovative solutions that meet the objectives detailed in Sections 1.2 and 1.3. The term innovative is defined as any technology, process, or method, including research and development that is new as of the date of proposal submission, or any new application of an existing technology, process or method as of the proposal date. Offerors are encouraged to submit multiple options.

ACC-DTA is not obligated to extend a request for proposal or make an award as a result of this CSO AoI; all awards are subject to the availability of funds and successful negotiations. This CSO AoI is not an authorization to begin performance, and in no way obligates the Government for any costs incurred by the Offeror associated with developing a Response. Prior to commencement of any activities associated with performance under this CSO AoI, the Government will issue a written directive or contractual document signed by the Contracting Officer with appropriate consideration established. ACC-DTA reserves the right to modify the requirements of this CSO AoI.

The authority to issue this CSO AoI is derived from ACC-DTA Commercial Solutions Opening W912CH-25-S-C001, dated 10 July 2025. The CSO authority is Section 803 of the National Defense Authorization Act for FY2022, Public Law 117-807, and Class Deviation 2022-O0007.

1.2	AoI Background

The AME museums perform a primary role in training Army Soldiers and a secondary role providing a public representation of the Army’s historical contributions. Army Regulation (AR) 870-20, “Army Museum Enterprise and Army Artifact Collection,” Chapter 5–1, “Preservation,” requires AME activities to control agents of deterioration by adhering to environmental standards for temperature, relative humidity (RH), and light. Environmental conditions must be continually monitored, with data automatically recorded every 15 minutes and records maintained. The period of performance is one (1) six-month base period with four (4) twelve-month option years.

1.3	Identify AoI Solution

The proposed solution deliverable shall be a turn-key environmental monitoring subscription service that ensures the preservation of Army artifacts. The submittal(s) shall show the capability for: delivering a contactless environmental monitoring system that operates independently from any Army computer network; providing all hardware (data loggers, relay devices), and managing all associated logistics, including shipping, repairs, battery changes, recalibration, and technology upgrades. The submittal(s) shall show the ability to collect, store, and maintain environmental data (temperature, relative humidity, visible and ultraviolet light) in a secure, cloud-based account. The submittal(s) shall show system capability to ensure data is captured automatically without requiring staff engagement and to provide a software interface accessible from any internet location to an unlimited number of approved users and administrators, each with secure, role-based accounts. The submittal(s) shall show the capability for providing comprehensive user support, including a help desk, technical support, and expert conservation guidance. The submittal(s) shall show the capability for delivering virtual training for initial setup and ongoing use, with multiple sessions to accommodate different time zones. The submittal(s) shall show the contractor’s ability to perform environmental monitoring services as a comprehensive subscription. This shall include providing all hardware, software, cloud storage, data management, training, and support.

To assist with budgetary packaging, offerors should provide a non-binding Rough Order of Magnitude (ROM) for the total estimated cost of this project, from contract award through the first full year of sustainment. This information will be used for packaging purposes only and does not constitute a formal pricing proposal.

2.	AoI Constraints

Any selected company/companies will be required to be registered in the System for Award Management (SAM.gov).

3.	Requirements

a)	Submission:

A written solution must be sent via e-mail submission by 5:00 P.M (EST) 21 May 2026 with subject line stating Army Museum Enterprise - Environmental Monitoring Service for AoI 007 CMH/AME to Point of Contacts (POC) listed below. Solutions received after the specified due date and time will be discarded and will not be evaluated by the Government.

AoI Open Period – This AoI will close at 5:00 P.M (EST): 21 May 2026

b)          POCs:

AoI questions can be sent to:

CSO AoI POCs:

Ms. Stephanie McCorvey: stephanie.a.mccorvey.civ@army.mil

Ms. Melissa Weissert: melissa.weissert.civ@army.mil

Contract Specialist: Ms. Sydney Huston, sydney.r.huston.civ@army.mil

Contracting Officer: Ms. Elida Kellezi, elida.kellezi.civ@army.mil