# Salient Characteristics

## 400-Ton Chiller

Basis of design: YORK model YCAV0457PA46VACBXT

Power requirements: 480VAC 3-phase 60Hz maximum load of 781A

Refrigerant type: R-134A

100-Ton Chiller

Basis of design: YORK model YLAA0100ZE46XBABXT

Power requirements: 480VAC 3-phase 60 Hz maximum load 223A

Refrigerant type: 410A