| SUBJECT* | Nurse Call Systems Maintenance |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 02908 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24126Q0857 |
| RESPONSE DATE/TIME/ZONE | 10-13-2026 12PM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 60 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| PRODUCT SERVICE CODE* | J065 |
| NAICS CODE* | 541513 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs VAMC Providence 830 Chalkstone Avenue Providence RI 02908 |
| POINT OF CONTACT* | Contract Specialist Rosangela Pereira Rosangela.Pereira@va.gov |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

The Department of Veterans Affairs, Networking Contracting Office (NCO 01) located in Providence, RI intends to enter into a sole source procurement, pursuant to the authority of FAR 6.302-1, with SIGNET Electronic Systems, LLC for the following requirement:

Performance Work Statement

Nurse Call Systems Maintenance

- Summary/Requirements:

The contractor shall provide preventative and corrective maintenance on the nurse call systems installed at the Providence VA Medical Center in the following locations:

| Building 1/Area | Responder Version |
| --- | --- |
| ED | Responder 4 |
| OR/Clean Core/PACU | Responder 4 |
| Hemo/ICU | Responder 5 |
| 3B | Responder 5 |
| 4A | Responder 5K |
| 4B | Responder 5 |
| 5B | Responder 5 |
| 6A | Responder 5 |
| 6B | Responder 5 |
| B-39 | Responder 5 |
| MRI Addition (In Construction) | Responder 5 |

The scope of service provided is as follows:

- The contractor shall provide next business day service. Labor, mileage, and trip charges shall be included.

- The contractor shall perform a biannual functional assessment of each system outlined above and shall provide a report outlining the satisfactory/unsatisfactory test status of each system and end device. A follow-on plan with associated proposal for parts necessary to return the system to fully satisfactory condition shall be provided to the customer. Labor, mileage, and trip charges associated with the above outlined repairs will be included in the service contract.

- Base year will include the upgrade of the ED and OR/Clean Core/PACU Responder 4 systems to Responder 5K to allow the systems to be fully supported into the future. This process includes all labor, materials, programming and engineering by the contractor to satisfy this requirement.

- Base year will include the addition of nurse call components necessary to bring rooms 460, 469, and 485 into clinical compliance for nurse call. This process includes all labor, materials, programming and engineering by the contractor to satisfy this requirement.

- The contractor shall provide an electronic service report for all preventative and repair work whether scheduled service or call-in repair work within 24 hours of the completion of the work order.

- Qualifications of Contractors

- The contractor shall be within 60 miles of the Providence VA Medical Center.

- The contractor shall be factory authorized and entitled to supply, install, and service the Rauland Responder 4, 4K, 5, and 5K nurse call systems and have full factory warranty privileges.

Place of Performance

VAMC Providence

830 Chalkstone Avenue

Providence, RI 02908

Period of Performance

The contract period of performance is one-year base period plus four one-year option periods.

The NAICS code for this requirement is 541513.

SIGNET Electronic Systems, LLC is the only authorized Rauland Responder Nurse Call distributor that can supply, install, service, and has full warranty privileges in the New England region. SIGNET is authorized to supply, install, and service the Rauland Responder 4, 4K, 5, and 5K nurse call systems and have full factory warranty privileges.

This notice of intent is not a solicitation nor is it a request for proposal.  However, all responsible sources may submit a capability statement demonstrating the ability to provide the requested services, in writing by Tuesday, October 13, 2026 at 12PM EST. Responses should be sent to Rosangela Pereira at Rosangela.Pereira@va.gov. Information submitted in response to this notice will be used solely to determine whether competitive procedures could be used for this acquisition. A determination not to open the requirement to competition based upon responses to this notice is solely within the discretion of the Government.