LiFePo4 Battery 12V 52Ah Group 31 case

Dimensions- No larger than 8”x 7”x 7”

Waterproof Rating IP67

High impact case

Flame retardant case

Fully automatic low temperature charging with integrated heater

Battery charge temps ( -4 to 113 Degree or higher)

Cycle life – 3000+

Built in Battery Management System (BMS)

LiFePo4 Battery 12V 100Ah Group 31 case

Dimensions- No larger than 13”x7”x 9”

Waterproof Rating IP67

High impact case

Flame retardant case

Fully automatic low temperature charging with integrated heater

Battery charge temps ( -4 to 113 Degree or higher)

Cycle life – 3000+

Built in Battery Management System (BMS)

LiFePo4 Battery 12V 300Ah Group 31 case

Dimensions- No larger than 21”x11”x 9”

Waterproof Rating IP67

High impact case

Flame retardant case

Fully automatic low temperature charging with integrated heater

Battery charge temps ( -4 to 113 Degree or higher)

Cycle life – 3000+

Built in Battery Management System (BMS)