
This is a combined synopsis/solicitation for commercial products and commercial services prepared in accordance with the format Revolutionary FAR Overhaul (RFO) in Federal Acquisition Regulation (FAR) subpart 12.202, “Streamlined Procedures for Evaluation and Solicitation for Commercial Products and Commercial Services,” as supplemented with additional information included in this notice. This announcement constitutes the only solicitation; quotes are being requested, and a written solicitation document will not be issued.

This is a combined synopsis/solicitation for commercial services prepared in accordance with the format in Subpart 12.6, as supplemented with additional information included in this notice. This announcement constitutes the only solicitation; quotes are being requested, and a written solicitation will not be issued. This solicitation is issued as a Request for Quotation (RFQ), solicitation number 36C25027Q0014.
This solicitation incorporates provisions and clauses in effect through Federal Acquisition Circular (FAC) 2026-01 with an effective date of 03/17/2026.
Contractor is responsible for submitting their package in accordance with the guidance in this solicitation. Failure to follow the document format or the solicitation guidelines will render the submission non-responsive and ineligible for consideration.
This solicitation is set-aside for: 100% Small Business
NORTH AMERICAN INDUSTRIAL CLASSIFICATION SYSTEM (NAICS) CODE: The NAICS code for this procurement is 238210 Electrical Contractors and Other Wiring Installation Contractors, business size standard of $19 Million.The FSC/PSC is J061.
The Louis Stokes Cleveland VA Medical Center, 10701 East Boulevard, Cleveland, Ohio 44106-1702	

The Cleveland VAMC requires a contractor to provide, labor, materials, equipment, transportation, and supervision necessary to provide on-site full electrical power distribution equipment testing, maintenance, and inspections.  Full maintenance includes on-site testing, maintenance and annual preventative maintenance inspections (PMI’s).  

The contractor shall include all labor, materials, equipment, and shipping to comply with all applicable federal, state, local laws and regulations, and VA regulations as required to provide on-site full electrical power distribution equipment testing, maintenance, and inspections as outline in the SOW/SCHEDULE.

All interested companies shall provide quotations for the following:
	ITEM NUMBER
	DESCRIPTION OF SUPPLIES/SERVICES
	QUANTITY
	UNIT
	UNIT PRICE
	AMOUNT

	0001
	
	1.00
	JB
	_______
	_______

	
	Electrical Power Distribution Equipment Maintenance 
Labor, materials, equipment, transportation, and supervision necessary to provide on-site full electrical power distribution equipment testing, maintenance, and inspections.  Full maintenance includes on-site testing, maintenance and annual preventative maintenance inspections (PMI's). 
Contract Period: Base
POP Begin: 11-01-2026
POP End: 10-31-2027
	

	1001
	
	1.00
	JB
	_______
	_______

	
	Electrical Power Distribution Equipment Maintenance 
Labor, materials, equipment, transportation, and supervision necessary to provide on-site full electrical power distribution equipment testing, maintenance, and inspections.  Full maintenance includes on-site testing, maintenance and annual preventative maintenance inspections (PMI's). 
Contract Period: Option 1
POP Begin: 11-01-2027
POP End: 10-31-2028
	

	2001
	
	1.00
	JB
	_______
	_______

	
	Electrical Power Distribution Equipment Maintenance 
Labor, materials, equipment, transportation, and supervision necessary to provide on-site full electrical power distribution equipment testing, maintenance, and inspections.  Full maintenance includes on-site testing, maintenance and annual preventative maintenance inspections (PMI's). 
Contract Period: Option 2
POP Begin: 11-01-2028
POP End: 10-31-2029
	

	3001
	
	1.00
	JB
	_______
	_______

	
	Electrical Power Distribution Equipment Maintenance 
Labor, materials, equipment, transportation, and supervision necessary to provide on-site full electrical power distribution equipment testing, maintenance, and inspections.  Full maintenance includes on-site testing, maintenance and annual preventative maintenance inspections (PMI's). 
Contract Period: Option 3
POP Begin: 11-01-2029
POP End: 10-31-2030
	

	4001
	
	1.00
	JB
	_______
	_______

	
	Electrical Power Distribution Equipment Maintenance 
Labor, materials, equipment, transportation, and supervision necessary to provide on-site full electrical power distribution equipment testing, maintenance, and inspections.  Full maintenance includes on-site testing, maintenance and annual preventative maintenance inspections (PMI's). 
Contract Period: Option 4
POP Begin: 11-01-2030
POP End: 10-31-2031

	

	
	
	
	
	GRAND TOTAL
	_______



	ITEM NUMBER
	SHIPPING INFORMATION
	QUANTITY
	DELIVERY DATE

	ALL
	SHIP TO:
	 Department of Veterans Affairs
Louis Stokes Cleveland VAMC
10701 East Boulevard
Cleveland, OH 44106 1702
USA

	ALL
	SEE SOW

	
	MARK FOR:
	Robert Davis X62614
(216) 791-3800
Robert.Davis6@va.gov
	
	






STATEMENT OF WORK (SOW)

1.  Contracting Officer’s Representative (COR).  
	Name:
	Robert Davis

	Section:
	

	Address:
	10701 East Blvd, Cleveland, OH 44106

	Phone Number:
	216-791-3800 x62614

	Fax Number:
	

	E-Mail Address:
	Robert.davis6@va.gov



2.  Contract Title. Electrical Power Distribution Equipment Testing, Inspection, and Maintenance 
3.  Background.  
Louis Stokes VA Medical Center, Cleveland, Ohio located at 10701 East Boulevard, Cleveland, Ohio 44106 is seeking a qualified contractor to provide, labor, materials, equipment, transportation, and supervision necessary to provide on-site full electrical power distribution equipment testing, maintenance, and inspections.  Full maintenance includes on-site testing, maintenance and annual preventative maintenance inspections (PMI’s).  
4.  Scope. 
The contractor shall provide all personnel, equipment, supplies, facilities, transportation, tools, materials, supervision, and other items and non-personal services necessary to perform maintenance and inspection, testing, and/or calibration of the Electrical Power Distribution Equipment and all of its components at the Cleveland VA Medical Center of facility Electrical Power Distribution Equipment meeting NETA standards.
Electrical Power Distribution Equipment Testing, Inspection, and Maintenance 
as defined in this Statement of Work except for those items specified as government furnished property and services.  The contractor shall meet the standards in this contract.
In the event faults or repairs identified during maintenance or inspection exceed basic repair, Contractor shall submit cost estimate and Scope of Work to COR for routing to CO for approval and contract modification.  No repairs or work outside the scope of this contract shall be performed prior to CO approval and fund allocation.  All quotes for repair parts shall be provided at the agreed upon discounted GSA rate. Power distribution equipment maintenance schedule includes tri-annual testing, maintenance and inspection.  Tri-annual testing of power distribution equipment outlined in section 5.10 of this SOW.
5. Specific Tasks.  
Onsite testing, inspection, minor repair, and housekeeping.
5.1– Substation and Transformer Maintenance completed tri-annually January – May  (Testing Period may be adjusted to meet medical center needs)
1. Visually inspect, tighten hardware and torque bolted connections. 
2. Manually operate each switch to check operation of auxiliaries and interlocks.      Check contact wipe, clearances and gaps as described in the manufacturer's instruction book.
3. Clean and lubricate all moving parts with manufacturer's approved lubricants. 
4. Check electrically operable devices by conducting operating tests as described by manufacturer’s instructions. Test all control systems equipment for proper operation after maintenance is performed and before placing them back in normal service.
5. Verify the Kirk Key interlock system. 
6. Test bus for insulation resistance.  
7. The vendor is responsible for a thorough cleaning of all substations which includes all the bus, wiring, inside panels, and any and all supporting parts. All cleaning products must meet substation manufacture factory specifications. Use lint-free rags to clean conductors, contact points between the circuit breakers and main buss bars, buss bars and interior of the electrical equipment.  Wipe down all sides and top of cabinet, substation or panel to remove dust/debris. Use a vacuum cleaner to remove large debris; compressed air is not to be used for this purpose. Visually inspect for signs of overheating, misaligned contacts, damaged insulation, or lose lugs. Upon completion the COR will inspect the substation for cleanliness. The vendor is responsible for inspecting the inside of the substation and confirms no foreign objects have been left inside the substation prior to returning to service.  
8. Liquid cooled transformers must have the cooling liquid tested and replaced when tests indicate that the liquid no longer meets manufacturer's specification. The liquid must be re-filled to meet the manufacturer's specifications.  
9. Test insulation resistance of both high and low voltage windings to ground and each other.
10. Inspect temperature relays, gauges, switches and alarms. 
11. If equipped with fans and pumps, verify proper operation and test. 
12. Verify three (3} phase transformer turns ratio on all taps using a three (3} phase test set.
13. Power factor test.  
14. Dry type transformers must be thoroughly cleaned exteriorly and inspected for overheating with infra-red thermal detecting equipment.   
15. Test insulation resistance of both high and low voltage windings to ground. 
16. Inspect temperature relays, gauges, switches, and alarms. 
17. Test fans, if equipped, and inspect all vent filters. Ensure proper routing of thermocouple leads. 
18. Verify transformer turns ratio on all taps. 
19. Visually inspect and clean transformer windings. 
20. Check torque on all accessible bolted connections. 
21. Clean cells and bus components. 
22. Test bus for insulation resistance. Visually inspect the main bus. 
23. Test all accessible bolted bus connections for proper torque and integrity. 
24. Test protective relays. 
25. Verify potential and control transformers. 
26. Check the breaker lifting device for proper operation. 
27. Verify the key interlock system. 
28. Energize the control circuits and test the integrity of the breaker close and trip circuits by operating the control switches and relay contacts. 
29. Verify the proper functioning of all indicating devices. 
30. Bolted pressure switches: Clean, lubricate and verify electrical and mechanical operation.
31. Energize the control circuits and test the integrity of the breaker close and trip circuits by operating the control switches and relay contacts. 
32. Verify the proper functioning of all indicating devices. 
33. Verify the proper operation of the control power transfer equipment. 
34. Functional test all protective relays, where permitted. 

1. Switchgear and Switchboard Assemblies.
2. Transformers 500 Kilovolt-Amps (kVA) or larger
3. Switches, Vacuum, Medium-Voltage
4. Switches, Air, Low-Voltage.
5. Switches, Air, Medium-Voltage, Metal-Enclosed
6. Motor Control, Motor Starter, Medium-Voltage
7. [bookmark: _Hlk82696472]Motor Control, Motor Starters, Low-Voltage.
8. Metal–Enclosed Busways
9. Switches, Air, Medium-Voltage, Metal-Enclosed
10. Switches, Vacuum, Medium-Voltage
11. Transformers, Dry Type, Air-Cooled, Low-voltage, Small.
12. Transformers, Dry Type, Air-Cooled, Low-voltage, Large.
13. Transformers, Liquid-Filled.

5.2 – Circuit Breaker Maintenance 400 amps and above completed tri-annually January – May (Testing Period may be adjusted to meet medical center needs)
A. Clean and lubricate, as necessary. 
B. Operate the breaker racking mechanisms to verify smooth operation. 
C. Operate the breakers to check the operation of auxiliaries and interlocks. 
D. For low voltage breakers, inspect arc chutes, contacts and insulation structures in accordance with the manufacturer's instruction manual. Test each breaker with a portable secondary injection test set or primary injection test set. 
E. For medium voltage breakers, inspect interphase barriers and insulation structure for signs of damage or contamination. Check contacts in accordance with the manufacturer's instruction manual. 
F. Test insulation resistance. 
G. Test contact resistance. 
H. Circuit Breakers, Air, Insulated-Case/ Molded-Case.
I. Circuit Breakers, Air, Low-Voltage Power.
J. Circuit Breakers, Vacuum, Medium-Voltage. 
5.3 – Ground Resistance Testing – completed annually July
A. Test Ground resistance for the main MV room and all 24 substations throughout the facility. Refer to VAH 1028 FY16.
B. Grounding Systems.
C. Ground-fault Protection Systems.
5.4 – IR Imagery – completed annually in July
A. Infra-Red Scanning/Thermographic Survey shall be performed on electrical equipment. 
B. Use an infra-red scanning camera to detect hot spots in the Electrical Power Distribution System.  
i. Objective of this work is to detect any loose, broken, or corroded connections in the system.  
ii. Problem connections shall be replaced with new connectors, and/or tightened with torque wrench to meet the equipment manufacturers’ specifications.
iii. Infra-Red Report shall be prepared and submitted to COTR within seven (7} days of completion. 

C. Test report shall include nameplate data, test results, general condition and maintenance recommendations, and location. 

D. Color pictures shall be provided of any problem areas 
a. Note that since this work item must be done while the Electrical Power Distribution System is energized, appropriate safety precautions must be taken before, during and after scanning the system.
b. The report for infrared inspections shall provide complete documentation of thermal patterns detected in the electrical equipment within the Louis Stokes VA Facility. Provide qualitative evaluation to help prioritize repairs. 
c. The infrared inspection report should meet the documentation requirements of the Infra-red inspection Institute Guideline for Infrared Inspection of Electrical and Mechanical Systems. All other published guidelines and standards pertaining to the infrared inspection of electrical and mechanical systems should be referenced and incorporated in the report and inspection. 
d. Electrical equipment (including, but not limited to switchgears, switchboards, distribution panels, motor control centers, and all related components) is inspected, tested, maintained, and/or calibrated every 36 months, and all work must be documented. NOTE: The National Electrical Testing Association (NETA) provides guidance, which is considered best practice for the maintenance of electrical equipment; these practices should be followed to the extent possible. 
e. Identify the hot spots in the electrical equipment by using infra-red thermal detecting equipment. Tighten problem connections to meet equipment manufacturers’ specifications using a torque wrench or other approved devices. 

E. Repair Priority Ratings 
i. Temperature Severity Ratings are the objective and based on temperatures measured by the thermography. The exception and other reference temperatures are compared to industry standards and guidelines to produce an objective Temperature Severity Rating. The vendor is to use the following temperature criteria to assign Temperature Severity Ratings to the exceptions: 

b. NETA Priority Criteria for Electrical & Mechanical Exceptions
i. #1 (0 to 18°F} Possible deficiency and warrants investigation 
ii. #2 (18 to 36 °F} Indicates probable deficiency, repair as time permits 
iii. #3 (36 to 72 °F} Indicates definite discrepancy; repair as soon as possible 
iv. #4 (Greater than 72 °F} Indicates major discrepancy; repair immediately

5.5 – Medium Voltage Relay Testing completed tri-annually January – May
A. Protective Relays Microprocessor Based.
B. Calibrate and maintain adjustable protective relays. 
C. Visual inspection. 
D. Clean. 
E. Test. 
5.6 – Medium Voltage Substation Control Power Batteries completed annually January – May
A. Inspect, clean and check torque on bolted connections. 
B. Check for proper voltage and regulation. 
C. Perform battery impedance and resistance testing. 
5.7 – Transformer Oil Testing completed annually April – June 
A. Collect cooling liquid oil sample for testing: 
a. General quality tests 
b. Dielectric strength 
c. Acid neutralization 
d. Interfacial tension 
e. Visual inspection 
f. Water content 
g. Power factor 
h. Dissolved gas analysis 

5.8 –Tri-annual 4-Hour Power Outage Test (2029)
A. The Contractor shall be present for and will participate as a resident expert in the VAMC 4- hour test of the Essential Electrical System (EES) to be conducted on a Saturday or Sunday. 
B. This test shall fulfill the requirements of VHA Directive, Electrical Power Distribution System, NFPA 110 (e.g. Para. 8.4.9.) and The Joint Commission. This test will include opening all utility service connections serving the VAMC for a minimum of 4 hours. 
C. During the test period, verify operation of all EES components including the transfer to emergency power and return to normal service. 
D. The Contractor shall include in their bid proposal all costs associated with the services of the local utility company for the duration of the test. The estimated duration of the Contractor’s involvement is between 8 – 12 hours. 
E. The Contractor shall assist the VAMC staff with troubleshooting and correcting malfunctioning electrical equipment discovered during the test. 
F. Contractor shall make any required adjustments and/or re-calibrations to all equipment which has been otherwise maintained, inspected, and tested under this Scope of Work.
5.9  Maintenance Reports
A. Contractors shall report deficiencies that are deemed critical or catastrophic immediately to the Contracting Officer Representative for immediate actions.
B. Work items, definitions, and references shall comply with the latest edition of the NETA – Maintenance Testing Specifications (MTS) and with the VHA Directive, Electrical Power Distribution System. 
C. NOTE: settings such as ATS settings, Adjustable Breaker Settings, etc must be provided by the VA. If not available from current coordination studies, then they should have the contractor conduct a study to determine proper settings.
D. System Function Tests. Provide function tests for all equipment listed in this Scope of Work.
E. Test Conditions. 
5.10  -- Tri-Annual Testing and Inspection




	Breaker Testing List

	Base Year:  November 1, 2026 Through October 31, 2027

	
	
	
	
	
	
	

	Substation
	MV Sw
	XFMRs
	 
	Circuit Breakers
	 
	 

	2027/2030
	Qty
	KVA
	Qty
	MFG
	Ampacity
	Qty

	Energy Center
	 
	 
	 
	 
	 
	 

	Russel Gear 
	N/A
	N/A
	 
	Cutler Hammer MDS840
	4000
	1

	BE602
	 
	 
	 
	Cutler Hammer MDS632
	3200
	2

	 
	 
	 
	 
	Cutler Hammer MDS620
	2000
	3

	 
	 
	 
	 
	Cutler Hammer MDS616
	1600
	6

	 
	 
	 
	 
	Cutler Hammer MDS608
	800
	2

	 
	 
	 
	 
	 
	 
	 

	EC2
	2
	1000 Dry
	1
	Square D RJ1600
	1600
	1

	 
	 
	 
	 
	Square D NE361200 LSG
	1200
	3

	 
	 
	 
	 
	 
	 
	 

	EC1
	2
	2500 Dry
	1
	5KV SW/5 KV  Starters
	 
	 

	 
	 
	 
	 
	 
	 
	 

	EC3A
	2
	3000 Oil
	1
	Square D NW40H
	4000
	1

	 
	 
	 
	 
	 
	 
	 

	Tie-GPS-TGPB
	 
	 
	 
	Square D NW40H
	4000
	1

	 
	 
	 
	 
	Square D NW32H
	3200
	2

	 
	 
	 
	 
	 
	 
	 

	DPE-5
	 
	 
	 
	Square D PJ800
	800
	1

	 
	 
	 
	 
	Square D LJ400
	400
	1

	EDSB3
	 
	 
	 
	Square D PJ800
	800
	2

	EDSB4
	 
	 
	 
	Square D PJ800
	800
	1

	 
	 
	 
	 
	Square D LJ400
	400
	1

	EC3B
	 
	 
	 
	Square D NW20H1
	2000
	2

	 
	 
	 
	 
	Square D NW16H1
	1600
	1

	 
	 
	 
	 
	Square D NW08H1
	800
	3

	 
	 
	 
	 
	 
	 
	 

	GDS3
	 
	 
	 
	Eaton SBS 630
	3000
	4

	DPE3
	 
	 
	 
	Eaton LT360032
	450
	2

	 
	 
	 
	 
	 
	 
	 

	MV Substation
	 
	 
	 
	C/H 150VCP-W 500
	1200
	33

	 
	 
	 
	 
	 
	 
	 

	Research K03
	1
	1000 Oil
	1
	GE AK50
	1600
	2

	BF458
	 
	 
	 
	GE AK25
	600
	4

	 
	 
	 
	 
	 
	 
	 

	Surgery
	4
	Dry
	2
	Schneider
	1600
	3

	 
	 
	 
	 
	Schneider
	800
	3



	Breaker Testing List

	Option Year 1:  November 1, 2027 Through October 31, 2028

	
	
	
	
	
	

	Substation
	MV Sw
	XFMRs
	 
	Circuit Breakers
	 

	2028/2031
	Qty
	KVA
	Qty
	MFG
	Ampacity

	D21
	 
	 
	 
	 
	 

	Sub A
	N/A
	1500 Oil
	2
	GE AK2-75
	3000

	 
	 
	 
	 
	GE AK2-50
	1600

	Sub B
	N/A
	1500 Oil
	2
	GE AK2-75
	3000

	 
	 
	 
	 
	GE AK2-50
	1600

	EDSB-2
	N/A
	N/A
	 
	Square D MH36800
	800

	Emergency
	 
	 
	 
	Square D MH36600
	600

	 Panel
	 
	 
	 
	Square D MH36400
	400

	 
	 
	 
	 
	Square D MH34250
	250

	 
	 
	 
	 
	Square D MH34225
	225

	 
	 
	 
	 
	Square D MH34200
	200

	 
	 
	 
	 
	Square D SE
	2500

	 
	 
	 
	 
	Siemens MCCB
	1200

	Penthouse
	 
	 
	 
	 
	 

	Sub W
	2
	1500 Oil
	2
	GE AKRT-6D-50H
	2000

	 
	 
	 
	 
	GE AKRT-6D-30H
	800

	 
	 
	 
	 
	 
	 

	Elevator
	N/A
	N/A
	 
	GE AK2A-50
	1600

	 
	 
	 
	 
	GE AK2A-25
	600

	MICU
	 
	 
	 
	 
	 

	MSB-N1
	2
	750 Dry
	1
	Siemens WLS2A316
	1200

	 
	 
	 
	 
	Siemens MCCB
	800

	 
	 
	 
	 
	Siemens MCCB
	600

	 
	 
	 
	 
	Siemens MCCB
	400

	 
	 
	 
	 
	Siemens MCCB
	300

	DPNB1-G
	 
	 
	 
	Siemens MCCB
	800

	 
	 
	 
	 
	Siemens MCCB
	600

	 
	 
	 
	 
	Siemens MCCB
	300

	DPNB1
	 
	 
	 
	Siemens MCCB
	600

	DPNB1-CR
	 
	 
	 
	Siemens MCCB
	600

	DPNB2-CR
	 
	 
	 
	Siemens MCCB
	600

	CB-T-UPS
	 
	 
	 
	Siemens MCCB
	600

	7th Floor
	 
	 
	 
	 
	 

	EDP
	 
	 
	 
	Eaton RD320T36W
	2000

	 
	 
	 
	 
	Eaton MCCB
	800

	 
	 
	 
	 
	Eaton MCCB
	400

	DPHL71EQ
	 
	 
	 
	Eaton MCCB
	800

	 
	 
	 
	 
	Eaton MCCB
	250

	DPHL72EQ
	 
	 
	 
	Square D Power Pact
	800

	 
	 
	 
	 
	Square D Power Pact
	400

	DPEG2
	 
	 
	 
	Eaton MCCB
	1200

	Cares Tower
	 
	 
	 
	Eaton MCCB
	800



	Yearly Breaker  Testing List

	Option Year 2 :  November 1, 2028 Through October 31, 2029

	
	
	
	
	
	
	

	Substation
	MV Sw
	XFMRs
	 
	Circuit Breakers
	 
	 

	2029/2032
	Qty
	KVA
	Qty
	MFG
	Ampacity
	Qty

	Amb Care
	 
	 
	 
	 
	 
	 

	Sub H1
	2
	1500 Dry
	1
	Cutler Hammer MDS632
	3200
	1

	 
	 
	 
	 
	Cutler Hammer MDS616
	1600
	1

	 
	 
	 
	 
	Cutler Hammer MDS408
	800
	9

	Sub H2
	2
	1500 Dry
	1
	Cutler Hammer MDS632
	3200
	1

	 
	 
	 
	 
	Cutler Hammer MDS616
	1600
	1

	 
	 
	 
	 
	Cutler Hammer MDS408
	800
	8

	EGSB1
	 
	 
	 
	Cutler Hammer MCCB
	1200
	1

	 
	 
	 
	 
	Cutler Hammer MCCB
	1200
	1

	 
	 
	 
	 
	Cutler Hammer MCCB
	800
	2

	 
	 
	 
	 
	Cutler Hammer MCCB
	600
	2

	 
	 
	 
	 
	 
	 
	 

	Emergency
	N/A
	750 Dry
	1
	In Amb Care
	 
	 

	Emergency
	1
	750 Dry
	1
	In Energy Center
	 
	 

	 
	 
	 
	 
	 
	 
	 

	Cares Tower
	 
	 
	 
	 
	 
	 

	1st Floor F1, F2
	4
	1500 Dry
	2
	Eaton MDS630
	3000
	3

	BF-193
	 
	 
	 
	Eaton MCCB
	800
	5

	 
	 
	 
	 
	Eaton MCCB
	400
	2

	 
	 
	 
	 
	Eaton MCCB
	150
	1

	Upstairs F3, F4
	4
	1000 Dry
	2
	Eaton MDS620
	2000
	3

	PF-105
	 
	 
	 
	Eaton MCCB
	800
	6

	 
	 
	 
	 
	Eaton MCCB
	160
	2

	DPEG2 - Cares PH
	 
	 
	 
	Eaton MCCB
	1200
	1

	
	 
	 
	 
	Eaton MHDL3400F
	400
	6

	Radiology
	 
	 
	 
	 
	 
	 

	Left side
	2
	500 Dry
	1
	Eaton MDS612
	1200
	2

	2B-502
	 
	 
	 
	Eaton MCCB
	800
	2

	 
	 
	 
	 
	Eaton MCCB
	400
	2

	 
	 
	 
	 
	Eaton MCCB
	225
	7

	Right Side
	2
	1000 Dry
	1
	Eaton MDS620
	2000
	1

	 
	 
	 
	 
	Eaton MCCB
	400
	1

	 
	 
	 
	 
	Eaton MCCB
	800
	1

	 
	 
	 
	 
	Eaton MCCB
	160
	3

	Pathology
	2
	1500 Dry
	1
	GE Wavepro
	2500
	2

	USS-F2
	 
	 
	 
	GE MCCB
	400
	2

	 
	 
	 
	 
	GE MCCB
	150
	2

	 
	 
	 
	 
	GE MCCB
	125
	1

	 
	 
	 
	 
	GE MCCB
	100
	1

	 
	 
	 
	 
	 
	 
	 

	Lab Warehouse
	2
	1500 Dry
	1
	Eaton MDS625
	2500
	2

	USS-F1
	 
	 
	 
	Eaton MCCB
	630
	2

	 
	 
	 
	 
	Eaton MCCB
	400
	3

	 
	 
	 
	 
	 
	 
	 

	Parking Garage
	1
	Oil
	1
	 
	 
	 



	Yearly Breaker Refurbishing and Testing Listing

	Option Year 3 :  November 1, 2029 Through October 31, 2030

	
	
	
	
	
	
	

	Substation
	MV Sw
	XFMRs
	 
	Circuit Breakers
	 
	 

	2027/2030
	Qty
	KVA
	Qty
	MFG
	Ampacity
	Qty

	Energy Center
	 
	 
	 
	 
	 
	 

	Russel Gear 
	N/A
	N/A
	 
	Cutler Hammer MDS840
	4000
	1

	BE602
	 
	 
	 
	Cutler Hammer MDS632
	3200
	2

	 
	 
	 
	 
	Cutler Hammer MDS620
	2000
	3

	 
	 
	 
	 
	Cutler Hammer MDS616
	1600
	6

	 
	 
	 
	 
	Cutler Hammer MDS608
	800
	2

	 
	 
	 
	 
	 
	 
	 

	EC2
	2
	1000 Dry
	1
	Square D RJ1600
	1600
	1

	 
	 
	 
	 
	Square D NE361200 LSG
	1200
	3

	 
	 
	 
	 
	 
	 
	 

	EC1
	6-Jun
	2500 Dry
	1
	5KV SW/5 KV  Starters
	 
	 

	 
	 
	 
	 
	 
	 
	 

	EC3A
	2
	3000 Oil
	1
	Square D NW40H
	4000
	1

	 
	 
	 
	 
	 
	 
	 

	Tie-GPS-TGPB
	 
	 
	 
	Square D NW40H
	4000
	1

	 
	 
	 
	 
	Square D NW32H
	3200
	2

	 
	 
	 
	 
	 
	 
	 

	DPE-5
	 
	 
	 
	Square D PJ800
	800
	1

	 
	 
	 
	 
	Square D LJ400
	400
	1

	EDSB3
	 
	 
	 
	Square D PJ800
	800
	2

	EDSB4
	 
	 
	 
	Square D PJ800
	800
	1

	 
	 
	 
	 
	Square D LJ400
	400
	1

	EC3B
	 
	 
	 
	Square D NW20H1
	2000
	2

	 
	 
	 
	 
	Square D NW16H1
	1600
	1

	 
	 
	 
	 
	Square D NW08H1
	800
	3

	 
	 
	 
	 
	 
	 
	 

	GDS3
	 
	 
	 
	Eaton SBS 630
	3000
	4

	DPE3
	 
	 
	 
	Eaton LT360032
	450
	2

	 
	 
	 
	 
	 
	 
	 

	MV Substation
	 
	 
	 
	C/H 150VCP-W 500
	1200
	33

	 
	 
	 
	 
	 
	 
	 

	Research K03
	1
	1000 Oil
	1
	GE AK50
	1600
	2

	BF458
	 
	 
	 
	GE AK25
	600
	4

	 
	 
	 
	 
	 
	 
	 

	Surgery
	4
	Dry
	2
	Schneider
	1600
	3

	 
	 
	 
	 
	Schneider
	800
	3



	Breaker Testing List

	Option Year 4:  November 1, 2030 Through October 31, 2031

	
	
	
	
	
	

	Substation
	MV Sw
	XFMRs
	 
	Circuit Breakers
	 

	2028/2031
	Qty
	KVA
	Qty
	MFG
	Ampacity

	D21
	 
	 
	 
	 
	 

	Sub A
	N/A
	1500 Oil
	2
	GE AK2-75
	3000

	 
	 
	 
	 
	GE AK2-50
	1600

	Sub B
	N/A
	1500 Oil
	2
	GE AK2-75
	3000

	 
	 
	 
	 
	GE AK2-50
	1600

	EDSB-2
	N/A
	N/A
	 
	Square D MH36800
	800

	Emergency
	 
	 
	 
	Square D MH36600
	600

	 Panel
	 
	 
	 
	Square D MH36400
	400

	 
	 
	 
	 
	Square D MH34250
	250

	 
	 
	 
	 
	Square D MH34225
	225

	 
	 
	 
	 
	Square D MH34200
	200

	 
	 
	 
	 
	Square D SE
	2500

	 
	 
	 
	 
	Siemens MCCB
	1200

	Penthouse
	 
	 
	 
	 
	 

	Sub W
	2
	1500 Oil
	2
	GE AKRT-6D-50H
	2000

	 
	 
	 
	 
	GE AKRT-6D-30H
	800

	 
	 
	 
	 
	 
	 

	Elevator
	N/A
	N/A
	 
	GE AK2A-50
	1600

	 
	 
	 
	 
	GE AK2A-25
	600

	MICU
	 
	 
	 
	 
	 

	MSB-N1
	2
	750 Dry
	1
	Siemens WLS2A316
	1200

	 
	 
	 
	 
	Siemens MCCB
	800

	 
	 
	 
	 
	Siemens MCCB
	600

	 
	 
	 
	 
	Siemens MCCB
	400

	 
	 
	 
	 
	Siemens MCCB
	300

	DPNB1-G
	 
	 
	 
	Siemens MCCB
	800

	 
	 
	 
	 
	Siemens MCCB
	600

	 
	 
	 
	 
	Siemens MCCB
	300

	DPNB1
	 
	 
	 
	Siemens MCCB
	600

	DPNB1-CR
	 
	 
	 
	Siemens MCCB
	600

	DPNB2-CR
	 
	 
	 
	Siemens MCCB
	600

	CB-T-UPS
	 
	 
	 
	Siemens MCCB
	600

	7th Floor
	 
	 
	 
	 
	 

	EDP
	 
	 
	 
	Eaton RD320T36W
	2000

	 
	 
	 
	 
	Eaton MCCB
	800

	 
	 
	 
	 
	Eaton MCCB
	400

	DPHL71EQ
	 
	 
	 
	Eaton MCCB
	800

	 
	 
	 
	 
	Eaton MCCB
	250

	DPHL72EQ
	 
	 
	 
	Square D Power Pact
	800

	 
	 
	 
	 
	Square D Power Pact
	400

	DPEG2
	 
	 
	 
	Eaton MCCB
	1200

	Cares Tower
	 
	 
	 
	Eaton MCCB
	800







Infra-Red Line Items for Inspection  
	Infra-Red Line items for inspection ITEM # 
	EQUIPMENT DESCRIPTION 
	LOCATION 

	1 
	16 Panels 
	Main Basement, BA-151 Ambulatory Care 

	2 
	ATS # 1,2,3,4 
	Main Basement, BA-151 Ambulatory Care 

	3 
	Subs H1 & H2 
	Main Basement, BA-151 Ambulatory Care 

	4 
	MCC1 & MCC2 
	Main Basement, BA-151 Ambulatory Care 

	5 
	6 Surge Arrestors 
	Main Basement, BA-151 Ambulatory Care 

	6 
	VFD 51 Return & Supply Fans 
	Main Basement, BA-151 Ambulatory Care 

	7 
	VFD 52 Return & Supply Fans 
	Main Basement, BA-151 Ambulatory Care 

	8 
	VFD 53 Return & Supply Fan 
	Main Basement, BA-151 Ambulatory Care 

	9 
	5 Cutler Hammer Switchboards 
	Main Basement, BA-151 Ambulatory Care 

	10 
	16 Disconnect Switches 
	Main Basement, BA-151 Ambulatory Care 

	11 
	8 Panels & 1 Disconnect Switch 
	Main Basement, B-B362 Electrical Room 

	12 
	5 Panels 
	Main Basement, B-C315 Engineering Closet 

	13 
	ATS # 16,17,18,19 
	Main Basement, FES B-E261 

	14 
	24 Panels 
	Main Basement, FES B-E261 

	15 
	4 Disconnect Switches 
	Main Basement, FES B-E261 

	16 
	6 Disconnect Switches & 8 VFDs 
	Main Basement, FES B-E260 

	17 
	1 Panel 
	Main Basement, F12A 

	18 
	3 Panels 
	Main Basement, 1-E500 Generator Room 

	19 
	14 Panels & 1 Disconnect 
	Main Basement, H-01A 

	20 
	Subs GPS 1 & GPS 2, 1 Panel 
	Main Basement, B-E602 Russ Gear Room 

	21 
	3 Disconnect Switches & 1 Panel 
	Main Basement, B-E503 Pipe Tunnel 

	22 
	7 Panels & 1 Disconnect Switch 
	Main Basement, B-E361B Hall by Cares Tower 

	23 
	4 Panels 
	Main Basement, B-A148 Electrical Closet 

	24 
	4 Panels & 2 Disconnect Switches 
	Main Basement, B-C563 

	25 
	ATS # 49,50 
	Main Basement, Unmarked by Room B-B549 

	26 
	7 Panels 
	Main Basement, Unmarked by Room B-B549 

	27 
	All Breakers 
	Main Basement, B-E504 Main Sub 

	28 
	Incoming Disconnects & Battery Rack 
	Main Basement, B-E504 Main Sub 

	29 
	ATS # 23,24,25 
	Main Basement, B-D423 

	30 
	3 Panels & 1 Disconnect Switch 
	Main Basement, B-D423 

	31 
	7 Eaton Switchboards 
	Main Basement, B-D423 

	32 
	ATS # 26 
	Main Basement, B-D424 

	33 
	5 Panels 
	Main Basement, B-D424 

	34 
	ATS # 5,8,22 
	Main Basement, D21 

	35 
	10 Panels 
	Main Basement, D21 

	36 
	Sub A & B, Lighting and Power 
	Main Basement, D21 

	37 
	ATS # 65 
	Main Basement, Energy Center, B-E603 

	38 
	Eaton Subs GDS3 & EC3B 
	Main Basement, Energy Center, B-E603 

	39 
	ATS # 15, 51, 52 
	Main Basement, Energy Center, B-E601 

	40 
	9 Panels 
	Main Basement, Energy Center, B-E601 

	41 
	4 Chiller Starter Switches 
	Main Basement, Energy Center, B-E601 

	42 
	Subs 1, EC2, EC3, TGP 
	Main Basement, Energy Center, B-E601 

	43 
	1 Panel 
	Main Basement, Energy Center, Cat Gen Room 

	44 
	8 Panels, 12 Disconnect Switches & 13 VFDs 
	Main Basement, B-D607 Chiller Plant North 

	45 
	7 VFDs 
	Main Basement, Boiler Room 

	46 
	9 Disconnect Switches 
	Main Basement, B-F411 Water Filtration 

	47 
	9 Panels 
	Main 1st Floor, 129E by Surgery Sub 

	48 
	5 Panels & 2 Disconnect Switches 
	Main 1st Floor, K111-A 

	49 
	4 Panels & 1 Disconnect Switch 
	Main 1st Floor, K122B 

	50 
	3 Panels 
	Main 1st Floor, Kitchen 

	51 
	1 Panel 
	Main 1st Floor, 1-D392 

	52 
	1 Panel 
	Main 1st Floor, 1-E401 

	53 
	8 Panels 
	Main 1st Floor, A-105 Surgery Sub 

	54 
	ATS # 11,12,13 
	Main 1st Floor, A-105 Surgery Sub 

	55 
	10 Disconnect Switches 
	Main 1st Floor, A-107 AC Shop 

	56 
	MCC N1 & E1 
	Main 1st Floor, A-107 AC Shop 

	57 
	4 Panels & 1 Disconnect Switch 
	Main 2nd Floor, 2A-102 

	58 
	6 Panels 
	Main 2nd Floor, 2A-158 

	59 
	3 Panels & 1 Disconnect Switch 
	Main 2nd Floor, 2A-187 

	60 
	11 Panels 
	Main 2nd Floor, 2B-125 

	61 
	4 Panels 
	Main 2nd Floor, 2B-126 

	62 
	8 Panels & 2 Disconnect Switches 
	Main 2nd Floor, 2B-148 

	63 
	5 Panels & 2 Disconnect Switches 
	Main 2nd Floor, 2B-223 

	64 
	ATS # 20 
	Main 2nd Floor, 2B-480 Mech Room East 

	65 
	5 Panels, 2 Disconnect Switches & 1 VFD 
	Main 2nd Floor, 2B-480 Mech Room East 

	66 
	4 Panels & 4 Disconnect Switches 
	Main 2nd Floor, 2B-501 Mechanical Penthouse 

	67 
	ATS # 42 & Teledata ATS 
	Main 2nd Floor, 2B-502 Penthouse 

	68 
	Sub Stations F1 & F2 
	Main 2nd Floor, 2B-502 Penthouse 

	69 
	1 Panel, 3 Disconnect Switches & Eaton Panel 
	Main 2nd Floor, 2B-502 Penthouse 

	70 
	9 Panels 
	Main 2nd Floor, 2C-411 

	71 
	1 Panel & Bus Duct 
	Main 2nd Floor, 2C-412 

	72 
	1 Disconnect Switch & 1 VFD 
	Main 2nd Floor, 2C-2041 

	73 
	MCC 22B 
	Main 2nd Floor, 2C-2041 

	74 
	2 Panels 
	Main 2nd Floor, 2D-177 

	75 
	1 Panel 
	Main 2nd Floor, 2D-188 

	76 
	2 Panels 
	Main 2nd Floor, 2D-190 

	77 
	3 Panels 
	Main 2nd Floor, 2D-191 

	78 
	3 Panels 
	Main 2nd Floor, 2E-320 

	79 
	2 Panels & 1 Disconnect Switch 
	Main 2nd Floor, 2E-347 

	80 
	1 Panel 
	Main 2nd Floor, 2E-361 

	81 
	9 Panels 
	Main 2nd Floor, 2E-315 

	82 
	ATS # 21 
	Main 2nd Floor, 2E-480 Mech Room West 

	83 
	3 Panels, 3 Disconnect Switches & 1 VFD 
	Main 2nd Floor, 2E-480 Mech Room West 

	84 
	3 Panels & 2 Disconnect Switches 
	Main 2nd Floor, k-214A 

	85 
	4 Panels & 2 Disconnect Switches 
	Main 2nd Floor, k-222 

	86 
	3 Disconnect Switches 
	Main 2nd Floor, Rm 2004 

	87 
	2 Panels 
	Main 3rd Floor, 3A-100 

	88 
	2 Panels 
	Main 3rd Floor, 3A-113 

	89 
	3 Panels 
	Main 3rd Floor, 3A-115, Mechanical 

	90 
	2 Panels 
	Main 3rd Floor, 3A-122 

	91 
	2 Panels 
	Main 3rd Floor, 3A-136 

	92 
	3 Panels 
	Main 3rd Floor, 3B-147 

	93 
	1 Panel 
	Main 3rd Floor, 3B-148 

	94 
	2 Panels 
	Main 3rd Floor, 3B-149 

	95 
	25 Panels 
	Main 3rd Floor, 3B-162b Electrical Room 

	96 
	3 Disconnect Switches 
	Main 3rd Floor, 3B-162d Penthouse 

	97 
	2 Panels 
	Main 3rd Floor, 3C-105 

	98 
	Bus Duct 
	Main 3rd Floor, 3C-108 

	99 
	MCC 32, AC 25 MCC 
	Main 3rd Floor, Penthouse 

	100 
	1 Panel 
	Main 4th Floor, 4A-109 

	101 
	1 Panel 
	Main 4th Floor, 4A-109 

	102 
	3 Panels 
	Main 4th Floor, 4A-114 

	103 
	1 Panel 
	Main 4th Floor, 4A-116 

	104 
	2 Panels 
	Main 4th Floor, 4A-125 

	105 
	2 Panels 
	Main 4th Floor, 4A-149 

	106 
	1 Panel 
	Main 4th Floor, 4A-160 

	107 
	4 Panels 
	Main 4th Floor, 4AC-232, By Stair 4 Amb. Care 

	108 
	1 Panel 
	Main 4th Floor, 4B-106 

	109 
	6 Panels 
	Main 4th Floor, 4B-111 

	110 
	1 Panel 
	Main 4th Floor, 4B-112 

	111 
	3 Panels 
	Main 4th Floor, 4B-121 

	112 
	1 Panel 
	Main 4th Floor, 4B-147 

	113 
	1 Panel 
	Main 4th Floor, 4B-155 

	114 
	6 Panels 
	Main 4th Floor, 4C-103 

	115 
	Bus Duct 
	Main 4th Floor, 4C-106 

	116 
	4 Panels 
	Main 5th Floor, 5A-114 

	117 
	2 Panels 
	Main 5th Floor, 5A-125 

	118 
	2 Panels 
	Main 5th Floor, 5A-152 

	119 
	3 Panels & 1 Disconnect Switch 
	Main 5th Floor, 5B-115 

	120 
	2 Panels 
	Main 5th Floor, 5B-125 

	121 
	2 Panels 
	Main 5th Floor, 5B-152 

	122 
	3 Panels 
	Main 5th Floor, 5C-111 

	123 
	Bus Duct 
	Main 5th Floor, 5C-Elevators 

	124 
	3 Panels, 10 Disconnect Switches 
	Main 5th Floor, Penthouse, Stair C,1 or 4 

	125 
	6 VFDs, 4 Control Panels 
	Main 5th Floor, Penthouse, Stair C,1 or 4 

	126 
	2 Panels 
	Main 6th Floor, 6A-105 

	127 
	1 Panel 
	Main 6th Floor, 6A-111 

	128 
	2 Panels 
	Main 6th Floor, 6A-112 

	129 
	3 Panels & 10 Disconnect Switches 
	Main 6th Floor, 6A-126 

	130 
	1 Panel 
	Main 6th Floor, 6A-140 

	131 
	2 Panels 
	Main 6th Floor, 6B-105 

	132 
	2 Panels 
	Main 6th Floor, 6B-117 

	133 
	1 Panel 
	Main 6th Floor, 6B-124 

	134 
	2 Panels 
	Main 6th Floor, 6B-130 

	135 
	1 Panels 
	Main 6th Floor, 6B-144 

	136 
	2 Panels 
	Main 6th Floor, 6C-100 

	137 
	1 Panels 
	Main 6th Floor, 6C-101 

	138 
	Bus Duct 
	Main 6th Floor, 6C-Elevators 

	139 
	10 Panels, 3 Disconnects & 5 VFDs 
	Main 7th Floor Penthouse 

	140 
	ATS # 43,44,45,46 
	Main 7th Floor Penthouse 

	141 
	MCC 71 
	Main 7th Floor Penthouse 

	142 
	2 Panels 
	Main 7th Floor Penthouse, AC-29 

	143 
	1 Panel & MCC 74 
	Main 7th Floor, 7B-100 Exhaust Fan Room 

	144 
	GE Sub Station 
	Main 7th Floor, 7C-107 Mechanical Roof 

	145 
	ATS # 14 & HVAC ATS 
	Main 7th Floor, 7C-102 Elevator Penthouse 

	146 
	Panels, MCC 
	Main 7th Floor, 7C-102 Elevator Penthouse 

	147 
	2 Panels 
	Cares A Floor, AF-193 

	148 
	6 Panels 
	Cares A Floor, AF-ELC1 

	149 
	7 Panels & Bus Duct 
	Cares A Floor, AF-ELC2 

	150 
	1 Panel 
	Cares A Floor, AF-LVC2 

	151 
	1 Disconnect Switch & 2 VFDs 
	Cares Basement, BF 192 

	152 
	Sub F1 & F2 
	Cares Basement, BF 193 

	153 
	3 Panels 
	Cares Basement, BF 193 

	154 
	7 Panels & Bus Duct 
	Cares Basement, BF-ELC1 

	155 
	10 Panels & Bus Duct 
	Cares Basement, BF-ELC2 

	156 
	1 Panel 
	Cares Basement, BF-LVC2 

	164 
	3 Disconnect Switches 
	Cares 1st Floor, FUT Card Elevator Eq. Room 

	165 
	5 Panels & Bus Duct 
	Cares 2nd Floor, 2F-ELC1 

	166 
	6 Panels & Bus Duct 
	Cares 2nd Floor, 2F-ELC2 

	167 
	1 Panel 
	Cares 2nd Floor, 2F-LVC2 

	168 
	ATS # 39,40,47 
	Cares 2nd Floor, 2F-501A Electrical Penthouse 

	169 
	11 Panels & 1 Disconnect Switch 
	Cares 2nd Floor, 2F-501A Electrical Penthouse 

	170 
	Lab Warehouse Sub 
	Cares 2nd Floor, 2F-501A Electrical Penthouse 

	171 
	2 Disconnect Switches 
	Cares 2nd Floor, 2F-501B Mechanical Penthouse 

	172 
	9 Disconnect Switches & 2 VFDs 
	Cares 2nd Floor, 2F-501C Mechanical Penthouse 

	173 
	ATS # 48 
	Cares 2nd Floor, 2F-501D Electrical Penthouse 

	174 
	3 Panels & 2 Disconnect Switches 
	Cares 2nd Floor, 2F-501D Electrical Penthouse 

	175 
	Pathology Sub 
	Cares 2nd Floor, 2F-501D Electrical Penthouse 

	176 
	8 Panels & Bus Duct 
	Cares 3rd Floor, 3F-ELC1 

	177 
	7 Panels & Bus Duct 
	Cares 3rd Floor, 3F-ELC2 

	178 
	1 Panel 
	Cares 3rd Floor, 3F-LVC2 

	179 
	6 Panels & Bus Duct 
	Cares 4th Floor, 4F-ELC1 

	180 
	7 Panels & Bus Duct 
	Cares 4th Floor, 4F-ELC2 

	181 
	1 Panel 
	Cares 4th Floor, 4F-LVC2 

	182 
	6 Panels & Bus Duct 
	Cares 5th Floor, 5F-ELC1 

	183 
	7 Panels & Bus Duct 
	Cares 5th Floor, 5F-ELC2 

	184 
	1 Panel 
	Cares 5th Floor, 5F-LVC2 

	185 
	Panels & Bus Duct 
	Cares 6th Floor, 6F-ELC1 

	186 
	Panels & Bus Duct 
	Cares 6th Floor, 6F-ELC2 

	187 
	1 Panel 
	Cares 6th Floor, 6F-LVC2 

	188 
	2 Disconnect Switches 
	Cares Penthouse, PF-102 Elevator Controls 

	189 
	14 Disconnect Switches & 15 VFDs 
	Cares Penthouse, PF-104 

	190 
	2 Panels 
	Cares Penthouse, PF-105 

	191 
	Sub F3 & F4 
	Cares Penthouse, PF-105 

	192 
	ATS # 37,38 
	Cares Penthouse, PF-105 

	193 
	8 Disconnect Switches 
	Cares Penthouse, PF-106 

	194 
	5 Panels 
	Sinai Skills Center, Room 116 

	195 
	2 Panels 
	Sinai Skills Center, 2nd Floor Restrooms 

	196 
	6 Panels 
	Parking Garages, 1C-703 

	197 
	3 Panels & 2 Disconnect Switches 
	Parking Garages, 1G 703 Electrical Eq. Room 

	198 
	2 Disconnect Switches 
	Parking Garages, 1G 702 Elevator Eq. Room 

	199 
	1 Panel, 4 Disconnect Switches 
	Parking Garages, 2C-703 

	200 
	4 Disconnect Switches 
	Parking Garages, 3C-703 

	201 
	3 Disconnect Switches 
	Parking Garages, 4C-703 

	202 
	Square D Switchgear 
	Parking Garages, 006 Main Electric Room 

	203 
	4 Panels & 1 Disconnect Switch 
	Parking Garages, 006 Main Electric Room 

	204 
	G/ATS 1 
	Parking Garages, 006 Main Electric Room 

	205 
	Eaton Switchgear & 2 Panels 
	Parking Garages, 006A Electric Room 

	206 
	7 Disconnect Switches 
	Parking Garages, 005A Elevator Mechanical 



6. Deliverables:
6.1  Written Report
A. A complete written report of the work performed shall be provided to the VA within 7 days of completion.  
B. Information shown in the report shall be as follows:
a. Company’s name, addresses, telephone, & FAX numbers.
b. Name and signature of contractors who perform the maintenance and testing.
c. VA Work Contract Number, name and number of VA Contracting Officer.
d. Date and Time of work.
e. Copies of contractors’ valid licenses, professional and training certificates.
f. Descriptions and model number of specialized tools and equipment used, such as torque wrench or infra-red scanning camera.
g. Location, Type, Name, serial number, and nameplate information of electrical equipment to be maintained and tested.  
h. Descriptions of work items.
i. Test data.
j. Reference materials such as equipment manufacturer’s specifications, coordination study, etc.
k. Remarks on conditions of electrical equipment.  List all deficiencies, if any.
l. Recommended corrective actions, if any.
i. Submit four (4) hard copies of the complete written report and emailed report to VA Contracting Officer Representative (COR) within seven (7) calendar days of visit.  
ii. All reference materials shall be included in the electronic version of the report, either through scanning or other means of electronic text import methods.
6.2  Awarded contractor shall submit a site-specific safety plan (SSSP) outlining how inspections and testing will safely be conducted.  This safety plan will be submitted to VA safety department for approval.  COR will provide SSSP packet to contractor for completion
Contractor shall meet all timeline requirements outlined in this SOW. 
	SOW Task#
	Deliverable Title
	Format
	Number
	Calendar Days After Start

	1
	Site Specific Safety Plan
	Word - PDF
	100 %
	>30 days

	2
	MV Substation Inspection Report
	Email – Word - Excel
	100 %
	>30 days

	3
	MV Control Power Batteries Report
	Email – Word – Excel
	100 %
	>30 days

	4
	MV Substation Control Power Relay Testing Report
	Email – Word – Excel
	100 %
	>30 days

	5
	Substation Transformer Testing Report
	Email – Word – Excel
	100 %
	>30 days

	6
	Transformer Oil Sample Report
	Email – Word - Excel
	100 %
	>30 days

	7
	Circuit Breaker Testing Report
	Email – Word – Excel
	100 %
	>30 days

	8
	Ground Resistance Testing Report
	Email – PDF - Excel
	100 %
	14 Days

	9
	IR Imagery Report
	Email – PDF – Excel
	100 %
	14 Days

	10
	4 Hour Blackout Support
	Email – PDF – Excel
	100 %
	14 Days

	11
	All items completed during scheduled timeframe
	Email – PDF – Excel
	95%
	14 Days

	
	
	
	
	



7. Performance Monitoring
A. Prior to bidding, it shall be the responsibility of the bidder to visit Cleveland VAMC and inspect the equipment listed within this SOW and the facility to establish to their satisfaction the condition of the Electrical Power Distribution equipment to be maintained and any other conditions affecting the work to be performed.  This equipment is offered in an "as-is" condition.  No claim shall be allowed for correction of deficiencies claimed to exist prior to award of contract. 

B. Quarterly meetings will be conducted with CO, COR, and contractor leadership.

C. Contractors shall be experienced Electrical Contractors, having properly trained and licensed permanent staff required to perform the proposed work. Electrical Contracting (i.e. the construction, repair, testing and maintenance of industrial and commercial electrical distribution systems) shall be the primary interest/specialty of the Contractor’s business.

D. Contractors shall be certified by the International Electrical Testing Association (NETA) or equivalent certifying organization as Certified Technicians with each having completed the Occupational Safety & Health Administration (OSHA) approved 10-hour construction safety training. 

E. Contractors shall have technical training and demonstrable track records of working experience in maintenance, inspection, and testing of the Electrical Power Distribution Systems and related components in healthcare, industrial, educational, and commercial facilities for a minimum of five (5) continuous years.  Electrical components on which the Contractors have experience shall include, but not be limited to, switchboards & switchgear (low and medium voltage); low voltage controls; emergency and standby generators; automatic transfer switches, wiring, transformers, meters, and other electrical appurtenances.

F. Contractors shall have safety trainings – either on-the-job or class-room type - in electrical safety outlined in the OSHA Standard 29 Code of Federal Regulations (CFR) 1910 Subpart S – Electrical, and the NFPA 70E – Standard for Electrical Safety in the Workplace.  Training certification shall be provided indicating each technician is a Qualified Person as defined by NFPA 70E.  Training certifications shall be submitted to the VA Contracting Officer prior to work.  If no training certifications are available, the contractor’ Employer shall certify that he/she has met this requirement in writing, and submit it to the VA Contracting Officer prior to work.

G. Contractors shall have ready access to the latest versions of the following references:
A. NFPA 70, National Electrical Code.
B. NFPA 70B, Recommended Practice for Electrical Equipment Maintenance.
C. NFPA 70E, Standard for Electrical Safety for the Workplace.
D. NFPA 110, Standard for Emergency and Standby Power System.
E. OSHA Standard 29 CFR 1910, Subparts I & S.
F. International Electrical Testing Association, Inc. (NETA) – Maintenance and Testing Specifications.
G. Operating/Maintenance manuals, and specifications of the electrical equipment to be maintained and tested.  These documents may be obtained from the VHA Medical Center, or the equipment manufacturers.
H. VHA Directive [2006-056][1028], Electrical Power Distribution System
H. Contractors shall have and provide all necessary tools, equipment, and Personal Protective Equipment (PPE) to perform the work safely, effectively, and timely.  Tools, equipment, and PPE shall comply with the requirements of OSHA Standard 29 CFR 1910, Subpart I, and NFPA 70E. Prior to initiating work, Contractor shall provide documentation that all instruments, test equipment, tools and PPE have current calibration. Dated calibration labels shall be visible on all instruments, test equipment, tools and PPE as appropriate.  

I. Quality Control : The contractor shall develop and maintain an effective quality control program to ensure services are performed in accordance with this SOW. The contractor shall develop and implement procedures to identify, prevent, and ensure non-recurrence of defective services. The contractor’s quality control program is the means by which he assures himself that his work complies with the requirement of the contract. After acceptance of the quality control plan the contractor shall receive the contracting officer’s acceptance in writing of any proposed change to his QC system. 

J. Quality Assurance: The government shall evaluate the contractor’s performance under this contract in accordance with the Quality Assurance Surveillance Plan. This plan is primarily focused on what the Government must do to ensure that the contractor has performed in accordance with the performance standards. It defines how the performance standards will be applied, the frequency of surveillance, and the minimum acceptable defect rate(s). 

K. Hours of Operation: The contractor is responsible for conducting business, between the hours of 7 a.m. to 11:30 p.m. Monday thru Friday or Saturday and Sunday 6 a.m. – 6 p.m. when maintenance requires electrical power interruption, except Federal holidays or when the Government facility is closed due to local or national emergencies, administrative closings, or similar Government directed facility closings. For other than firm fixed price contracts, the contractor will not be reimbursed when the government facility is closed for the above reasons. The Contractor must at all times maintain an adequate workforce for the uninterrupted performance of all tasks defined within this SOW when the Government facility is not closed for the above reasons. When hiring personnel, the Contractor should keep in mind that the stability and continuity of the workforce are essential. 

L. Work is not to be performed during federal holidays without prior approval of the COR. 
a. New Year’s Day 
b. Labor Day 
c. Martin Luther King Jr.’s Birthday 
d. Columbus Day 
e. President’s Day 
f. Veteran’s Day 
g. Memorial Day 
h. Thanksgiving Day 
i. Independence Day 
j. Christmas Day
k. Juneteenth

M. The contractor shall provide a contract manager who shall be responsible for the performance of the work. The name of this person and an alternate who shall act for the contractor when the manager is absent shall be designated in writing to the contracting officer. The contract manager or alternate shall have full authority to act for the contractor on all contract matters relating to daily operation of this contract. The contract manager or alternate shall be available between 8:00 a.m. to 4:30 p.m., Monday through Friday except Federal holidays or when the government facility is closed for administrative reasons.
9. Check – In Requirements: 
A. The Contractor Service Personnel and/or representative must report to the Electric Shop Supervisor within the engineering department or designated point of contact (POC) to sign with department staff before work begins. Upon completion of work, the Contractor Service Personnel and/or representative must report to the appropriate department to sign out. 

B. Parking: Onsite parking is not available, and all contractor personnel will be required to obtain street side parking.

10. Security Requirements:  The C&A requirements do not apply, and a Security Accreditation Package is not required.
A. Dedicated personnel will be assigned solely to observe, interact, assist, and assure protection of VA sensitive information. 
B. Contractor employees providing services at VA facilities may undergo a security clearance in the form of a basic background investigation. 
11. General Security:  Contractors, contractor personnel, subcontractors, and subcontractor personnel shall be subject to the same Federal laws, regulations, standards, and VA Directives and Handbooks as VA and VA personnel regarding information and information system security.

12. VA Information Custodial Language: 
A. Information made available to the contractor or subcontractor by VA for the performance or administration of this contract or information developed by the contractor/subcontractor in performance or administration of the contract shall be used only for those purposes and shall not be used in any other way without the prior written agreement of the VA. This clause expressly limits the contractor/subcontractor's rights to use data as described in Rights in Data - General, FAR 52.227-14(d) (1). 
B. The contractor/subcontractor must store, transport, or transmit VA sensitive information in an encrypted form, using VA-approved encryption tools that are, at a minimum, FIPS 140-2 validated.

13.   Government-Furnished Equipment (GFE)/Government-Furnished Information (GFI).  
A. No GFE will be issued to complete the requirements of this contract.

14. Other Pertinent Information or Special Considerations. 
A. Prior to bidding, it shall be the responsibility of the bidder to visit the job site and inspect facility equipment listed in this SOW to establish to their satisfaction the condition of the equipment to be maintained and any other conditions affecting the work to be performed.  This equipment is offered in an "as-is" condition.  No claim shall be allowed for correction of deficiencies claimed to exist prior to award of contract. 

B. Contractor shall be currently engaged in maintenance, repair, inspection, and testing of electrical power distribution equipment. Contractor shall have a minimum of five (5) years within the last seven (7) years of successful experience maintaining power distribution equipment identical or similar to the equipment listed in this Contract SOW. 

C. Offerors shall submit references for the five (5) years of experience including names, addresses, and telephone numbers of specific companies and key personnel to contact.

D. The Contractor shall provide a Contract Manager who shall be responsible for the performance of the work. The name of the Contract manager and an alternate shall be designated in writing to the CO/COR prior to the Contract start date. Changes to personnel shall be submitted to the Government within five (5) work days of the changes. 

E. The Contract Manager or alternate shall have full authority to act on all Contract matters relating to the daily operation of the Contract. The Contract Manager or alternate shall be available to speak/meet with the CO or COR within 24 hours of request during normal operating hours, and or within the next business day after Friday or a Federal holiday.

F. Identification of Possible Follow-on Work.  Any additional repair or replacement work required outside this contract will require contractor to submit a quote to COR and receive an approved PO before beginning work. 

G. Identification of Potential Conflicts of Interest (COI). 
a. None
H. Identification of Non-Disclosure Requirements. 
a. Not Applicable
I. Packaging, Packing and Shipping Instructions.  
a. None
J. Inspection and Acceptance Criteria.  
a. Contractor will be responsible for meeting timelines listed in this SOW to include monthly inspection, inspection reports, and response to service call. 

15.  Risk Control
Work performed within the medical center may present health risks including exposure to illness and infection control. Contractor will take action to recognize and follow warning information throughout the facility.  
16.  Place of Performance. 
Work will be performed at 
Louis Stokes VA Medical Center 
10701 East Blvd
Cleveland, Ohio
44106

17. Period of Performance. 
Base Year: 		November 1, 2026 through October 31, 2027
Option Year One: 	November 1, 2027 through October 31, 2028
Option Year Two: 	November 1, 2028 through October 31, 2029
Option Year Three:	November 1, 2029 through October 31, 2030
Option Year Four: 	November 1, 2030 through October 31, 2031

18.  Point of Contact
Robert Davis
Robert.Davis6@va.gov
216-791-3800 ext.62614



The full text of FAR provisions or clauses may be accessed electronically at https://www.acquisition.gov/browse/index/far. 
The following solicitation provisions and clause apply to this acquisition:
[bookmark: _Toc256000021]52.212-1  INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION)
  (a) Submission of offers. Submit signed and dated offers to the office specified in this solicitation at or before the exact time specified in this solicitation. As a minimum, offers shall include—
    (1) The solicitation number;
    (2) The name, address, telephone number of the Offeror;
    (3) The Offeror’s Unique Entity Identifier (UEI) and, if applicable, Electronic Funds Transfer (EFT) indicator;
    (4) Information necessary to evaluate the factors contained in the provision at 52.212-2 or as described in the solicitation;
    (5) Responses to provisions that require Offeror completion of information, representations, and certifications (other than those collected via the System for Award Management (SAM)); and
    (6) A statement specifying the extent of agreement with all terms, conditions, and provisions included in the solicitation and any solicitation amendments.
  (b) Period for acceptance of offers. The Offeror agrees to hold the prices in its offer firm for 60 calendar days from the date specified for receipt of offers, unless another time period is specified in an addendum to the solicitation.
  (c) Late submissions, modifications, revisions, and withdrawals of offers.
    (1) Offerors are responsible for submitting offers and any modifications or revisions to the Government office designated in the solicitation by the time specified in the solicitation.
    (2) Any offer, modification, or revision received after the time specified for receipt of offers is “late” and will not be considered unless it is received before award is made and the Contracting Officer determines that accepting the late offer would not unduly delay the acquisition. However, a late modification of an otherwise successful offer that makes its terms more favorable to the Government will be considered at any time it is received and may be accepted.
    (3) If an emergency or unanticipated event interrupts normal Government processes so that offers cannot be received at the Government office designated for receipt of offers by the exact time specified in the solicitation, and urgent Government requirements preclude amendment of the solicitation or other notice of an extension of the closing date, the time specified for receipt of offers will be deemed to be extended to the same time of day specified in the solicitation on the first work day on which normal Government processes resume.
    (4) Offerors may withdraw their offers by written notice to the Government received at any time before award.
  (d) Contract award (not applicable to Invitation for Bids). The Government intends to evaluate offers and award a contract without discussions with Offerors. Therefore, the Offeror’s initial offer should contain the Offeror’s best terms. However, the Government reserves the right to conduct discussions, if necessary. The Government may reject any or all offers if such action is in the public interest, accept other than the lowest offer, and waive informalities and minor irregularities in offers received.
  (e) Debriefings. If a postaward debriefing is given to requesting Offerors, the Government will disclose the following information, if applicable:
    (1) The agency’s evaluation of the significant weak or deficient factors in the debriefed Offeror’s offer.
    (2) The overall evaluated cost or price and technical rating of the successful Offeror and the debriefed Offeror and past performance information on the debriefed Offeror.
    (3) The overall ranking of all Offerors when any ranking was developed by the agency during source selection.
    (4) A summary of the rationale for award.
    (5) For acquisitions of commercial products, the make and model of the product to be delivered by the successful Offeror.
    (6) Reasonable responses to relevant questions posed by the debriefed Offeror as to whether the agency followed source-selection procedures set forth in the solicitation, applicable regulations, and other applicable authorities.
(End of Provision)




QUOTATION SUBMISSION INFORMATION AND EVALUATION CRITERIA
All interested companies shall provide quotations and a grand total for line items – 
All quoters shall submit the following: 
1. Offerors must complete annual representations and certifications electronically via the System for Award Management (SAM) website located at https://sam.gov/

2. Evaluation factors:  The Government will award a contract resulting from this solicitation to the responsible Offeror whose offer conforming to the solicitation will be most advantageous to the Government, price and other factors considered. Technical Capability is more important than Price. The Government will perform a comparative evaluation of quotations and may select a higher-priced quotation if it is determined that the additional technical merit and/or past performance value warrants the additional cost. Options will be evaluated at time of award.
         The following factors will be used to evaluate offers:
· Technical Capabilities - 
· Price

3. All quotes shall be sent by email to: 
Contract Specialist:  Christopher A. Callihan at  christopher.callihan@va.gov, by October 23, 2026 at 3pm (ET). 

4. All Request for Information shall be sent by email to:
Contract Specialist:  Christopher A. Callihan at christopher.callihan@va.gov,  by    October 16, 2026 at 3pm (ET).







52.212-2  EVALUATION—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION)

  (a) Evaluation factors. The Government will award a contract resulting from this solicitation to the responsible Offeror whose offer conforming to the solicitation will be most advantageous to the Government, price and other factors considered. The following factors will be used to evaluate offers:
Comparative Evaluation – where technical capabilities and past performance, when combined, are more important that price.
•	Technical Capabilities
•	Price
    
        (b) Options (if applicable). The Government will evaluate offers for award purposes by adding the total price for all options to the total price for the basic requirement. The Government may determine that an offer is unacceptable if the option prices are significantly unbalanced. The evaluation of options does not obligate the Government to exercise the option(s).
  (c) Notice of award. A written notice of award or acceptance of an offer furnished to the successful Offeror within the time for acceptance specified in the offer, shall result in a binding contract without further action by either party. Before the offer's specified expiration time, the Government may accept an offer (or part of an offer), whether or not there are negotiations after its receipt, unless a written notice of withdrawal is received before award.
(End of Provision)

1. Offerors must complete annual representations and certifications electronically via the System for Award Management (SAM) website located at https://sam.gov/.


FAR 52.212-4, “Contract Terms and Conditions–Commercial Products and Commercial Services” NOV 2023

ADDENDUM to FAR 52.212-4 CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES
  Clauses that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available.
  The following clauses are incorporated into 52.212-4 as an addendum to this contract:


52.204-91  CONTRACTOR IDENTIFICATION (DEVIATION) (NOV 2025)
  Definitions. As used in this provision—

  Commercial and Government Entity code means—
   
 (1) An identifier assigned to entities located in the United States or its outlying areas by the Defense Logistics Agency (DLA) Commercial and Government Entity (CAGE) Branch to identify a commercial or government entity by unique location (referred to as “CAGE code”); or
   
 (2) An identifier assigned by a member of the North Atlantic Treaty Organization (NATO) or by the NATO Support and Procurement Agency (NSPA) to entities located outside the United States and its outlying areas that the DLA CAGE Branch records and maintains in the CAGE master file (referred to as “NCAGE code”).
 
 Unique entity identifier means an identifier used to identify a specific commercial, nonprofit, or Government entity.
 
 (b) Unique entity identifier (UEI). The Contractor shall ensure that its UEI is maintained throughout the life of the contract.

  (c) Commercial and Government Entity (CAGE) code. The Contractor shall ensure that the CAGE code is maintained throughout the life of the contract. The Contractor shall request changes to a CAGE code as indicated in the following table.

If the Contractor is…	Then…
Registered in the System for Award Management (SAM)	Initiate the change by updating its SAM registration
Located in the United States or its outlying areas and is not registered in SAM	Submit a change request to the DLA CAGE Branch via https://cage.dla.mil

Located outside the United States and its outlying areas and is not registered in SAM	Request a change by contacting the appropriate National Codification Bureau (https://www.nato.int/structur/ac/135/about/contacts) or NSPA (https://eportal.nspa.nato.int/AC135Public/scage/CageList.aspx)

(d) Communicating changes. The Contractor shall communicate any change to its UEI or CAGE code to the Contracting Officer within 30 days after the change, so a modification can be issued to update the UEI or CAGE code on this contract. A change in the UEI does not necessarily require a novation.

(End of Clause)


52.222-90 ADDRESSING DEI DISCRIMINATION BY FEDERAL CONTRACTORS  (DEVIATION APR 2026)
(a)Definitions. As used in this clause—
  
Program participation means membership or participation in, or access or admission to: training, mentoring, or leadership development programs; educational opportunities; clubs; associations; or similar opportunities that are sponsored or established by the contractor or subcontractor.
 
 Racially discriminatory diversity, equity, and inclusion (DEI) activities means disparate treatment based on race or ethnicity in the recruitment, employment (e.g., hiring, promotions), contracting (e.g., vendor agreements), program participation, or allocation or deployment of an entity's resources.

  (b) In connection with the performance of work under this contract, the Contractor agrees as follows:

    (1) The Contractor will not engage in any racially discriminatory DEI activities;

    (2) The Contractor will furnish all information and reports, including providing access to books, records, and accounts, as required by the Contracting Officer, for purposes of ascertaining compliance with this clause;

    (3) In the event of the Contractor's or a subcontractor's noncompliance with this clause, this contract may be canceled, terminated, or suspended in whole or in part, and the Contractor or subcontractor may be declared ineligible for further Government contracts;

    (4) The Contractor will report any subcontractor's known or reasonably knowable conduct that may violate this clause to the Contracting Officer and take any appropriate remedial actions directed by the Contracting Officer; and

    (5) The Contractor will inform the Contracting Officer if a subcontractor sues the Contractor and the suit puts at issue, in any way, the validity of this clause.

    (6) The Contractor recognizes that compliance with the requirements of this clause are material to the Government's payment decisions for purposes of 31 U.S.C. 3729(b)(4).

  (c) The Contractor must include the substance of this clause, including this paragraph (c), in subcontracts at any tier, including those for commercial products and commercial services, except those where the place of delivery or performance is outside the United States.

(End of Clause)

[bookmark: _Toc256000014]52.223-9 ESTIMATE OF PERCENTAGE OF RECOVERED MATERIAL CONTENT FOR EPA-DESIGNATED ITEMS (MAY 2008)
  (a) Definitions. As used in this clause—

    "Postconsumer material" means a material or finished product that has served its intended use and has been discarded for disposal or recovery, having completed its life as a consumer item. Postconsumer material is a part of the broader category of "recovered material."

    "Recovered material" means waste materials and by-products recovered or diverted from solid waste, but the term does not include those materials and by-products generated from, and commonly reused within, an original manufacturing process.

  (b) The Contractor, on completion of this contract, shall—

    (1) Estimate the percentage of the total recovered material content for EPA-designated item(s) delivered and/or used in contract performance, including, if applicable, the percentage of postconsumer material content; and

    (2) Submit this estimate to .
(End of Clause)

52.232-29  TERMS FOR FINANCING OF PURCHASES OF COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2021)
  (a) Contractor entitlement to financing payments. The Contractor may request, and the Government shall pay, a contract financing payment as specified elsewhere in this contract when: the payment requested is properly due in accordance with this contract; the supplies deliverable or services due under the contract will be delivered or performed in accordance with the contract; and there has been no impairment or diminution of the Government's security under this contract.

  (b) Special terms regarding termination for cause. If this contract is terminated for cause, the Contractor shall, on demand, repay to the Government the amount of unliquidated contract financing payments. The Government shall be liable for no payment except as provided by the Termination for Cause paragraph of the clause at Federal Acquisition Regulation (FAR) 52.212–4, Contract Terms and Conditions—Commercial Products and Commercial Services.

  (c) Security for Government financing. In the event the Contractor fails to provide adequate security, as required in this contract, no financing payment shall be made under this contract. Upon receipt of adequate security, financing payments shall be made, including all previous payments to which the Contractor is entitled, in accordance with the terms of the provisions for contract financing. If at any time the Contracting Officer determines that the security provided by the Contractor is insufficient, the Contractor shall promptly provide such additional security as the Contracting Officer determines necessary. In the event the Contractor fails to provide such additional security, the Contracting Officer may collect or liquidate such security that has been provided and suspend further payments to the Contractor; and the Contractor shall repay to the Government the amount of unliquidated financing payments as the Contracting Officer at his sole discretion deems repayable.

  (d) Reservation of rights. (1) No payment or other action by the Government under this clause shall (i) excuse the Contractor from performance of obligations under this contract, or (ii) constitute a waiver of any of the rights or remedies of the parties under the contract.

    (2) The Government's rights and remedies under this clause (i) shall not be exclusive, but rather shall be in addition to any other rights and remedies provided by law or this contract; and (ii) shall not be affected by delayed, partial, or omitted exercise of any right, remedy, power, or privilege, nor shall such exercise or any single exercise preclude or impair any further exercise under this clause or the exercise of any other right, power, or privilege of the Government.

  (e) Content of Contractor's request for financing payment. The Contractor's request for financing payment shall contain the following:

    (1) The name and address of the Contractor;

    (2) The date of the request for financing payment;

    (3) The contract number and/or other identifier of the contract or order under which the request is made; and

    (4) An appropriately itemized and totaled statement of the financing payments requested and such other information as is necessary for computation of the payment, prepared in accordance with the direction of the Contracting Officer.

  (f) Limitation on frequency of financing payments. Contractor financing payments shall be provided no more frequently than monthly.

  (g) Dates for payment. A payment under this clause is a contract financing payment and not subject to the interest penalty provisions of the Prompt Payment Act. The designated payment office will pay approved payment requests within 30 days of submittal of a proper request for payment.

  (h) Conflict between terms of offeror and clause. In the event of any conflict between the terms proposed by the offeror in response to an invitation to propose financing terms (FAR 52.232-31) and the terms in this clause, the terms of this clause shall govern.

(End of Clause)

 52.232-90  FAST PAYMENT PROCEDURE (NOV 2025) (DEVIATION)
  (a) General. The Government will pay invoices based on the Contractor's delivery to a post office or common carrier (or, if shipped by other means, to the point of first receipt by the Government).
  
(b) Responsibility for supplies.

    (1) Title to the supplies passes to the Government upon delivery to—

      (i) A post office or common carrier for shipment to the specific destination; or

      (ii) The point of first receipt by the Government, if shipment is by means other than Postal Service or common carrier.
    
(2) Notwithstanding any other provision of the contract, order, or blanket purchase agreement, the Contractor shall—

      (i) Assume all responsibility and risk of loss for supplies not received at destination, damaged in transit, or not conforming to purchase requirements; and

      (ii) Replace, repair, or correct those supplies promptly at the Contractor's expense, if instructed to do so by the Contracting Officer within 180 days from the date title to the supplies vests in the Government.

  (c) Preparation of invoice.

    (1) Upon delivery to a post office or common carrier (or, if shipped by other means, the point of first receipt by the Government), the Contractor shall—

      (i) Prepare an invoice as provided in this contract, order, or blanket purchase agreement; and
      (ii) Display prominently on the invoice "FAST PAY."  Invoices not prominently marked "FAST PAY" via manual or electronic means may be accepted by the payment office for fast payment.  If the payment office declines to make fast payment, the Contractor shall be paid in accordance with procedures applicable to invoices to which the Fast Payment clause does not apply.

    (2) If the purchase price excludes the cost of transportation, the Contractor shall enter the prepaid shipping cost on the invoice as a separate item. The Contractor shall not include the cost of parcel post insurance. If transportation charges are stated separately on the invoice, the Contractor shall retain related paid freight bills or other transportation billings paid separately for a period of three years and shall furnish the bills to the Government upon request.

    (3) If this contract, order, or blanket purchase agreement requires the preparation of a receiving report, the Contractor shall either—

      (i) Submit the receiving report on the prescribed form with the invoice; or
      (ii) Include the following information on the invoice:

        	(A) Shipment number.
        	(B) Mode of shipment.
        	(C) At line item level—
          	(1) National stock number and/or manufacturer's part number;
          	(2) Unit of measure;
          	(3) Ship-To Point;
          	(4) Mark-For Point, if in the contract; and
          	(5) FEDSTRIP/MILSTRIP document number, if in the contract.

    (4) If this contract, order, or blanket purchase agreement does not require preparation of a receiving report on a prescribed form, the Contractor shall include on the invoice the following information at the line item level, in addition to that required in paragraph (c)(1) of this clause:

      (i) Ship-To Point.
      (ii) Mark-For Point.
      (iii) FEDSTRIP/MILSTRIP document number, if in the contract.

    (5) Where a receiving report is not required, the Contractor shall include a copy of the invoice in each shipment.

  (d) Certification of invoice. The Contractor certifies by submitting an invoice to the Government that the supplies being billed to the Government have been shipped or delivered in accordance with shipping instructions issued by the ordering officer, in the quantities shown on the invoice, and that the supplies are in the quantity and of the quality designated by the contract, order, or blanket purchase agreement.

  (e) FAST PAY container identification. The Contractor shall mark all outer shipping containers "FAST PAY."  When outer shipping containers are not marked "FAST PAY," the payment office may make fast payment.  If the payment office declines to make fast payment, the Contractor shall be paid in accordance with procedures applicable to invoices to which the Fast Payment clause does not apply.

(End of Clause)
[bookmark: _Toc256000017]
52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)
  (a) Definitions. As used in this clause—

  American Security Drone Act-covered foreign entity means an entity included on a list that the Federal Acquisition Security Council (FASC) develops and maintains and publishes in the System for Award Management (SAM) at https://www.sam.gov (section 1822 of Pub. L. 118-31, 41 U.S.C. 3901 note prec.).

  Backhaul means intermediate links between the core network, or backbone network, and the small subnetworks at the edge of the network (e.g., connecting cell phones/towers to the core telephone network). Backhaul can be wireless (e.g., microwave) or wired (e.g., fiber optic, coaxial cable, Ethernet).

  Covered application means the social networking service TikTok or any successor application or service developed or provided by ByteDance Limited or an entity owned by ByteDance Limited.

  Covered article, as defined in 41 U.S.C. 4713(k), means:

    (1) Information technology, as defined in 40 U.S.C. 11101, including cloud computing services of all types;

    (2) Telecommunications equipment or telecommunications service, as those terms are defined in section 3 of the Communications Act of 1934 (47 U.S.C. 153);

    (3) The processing of information on a Federal or non-Federal information system, subject to the requirements of the Controlled Unclassified Information program (see 32 CFR part 2002); or

    (4) Hardware, systems, devices, software, or services that include embedded or incidental information technology.
  Covered foreign country means The People’s Republic of China.

  Covered telecommunications equipment or services means—

    (1) Telecommunications equipment produced by Huawei Technologies Company or ZTE Corporation (or any subsidiary or affiliate of such entities);

    (2) For the purpose of public safety, security of Government facilities, physical security surveillance of critical infrastructure, and other national security purposes, video surveillance and telecommunications equipment produced by Hytera Communications Corporation, Hangzhou Hikvision Digital Technology Company, or Dahua Technology Company (or any subsidiary or affiliate of such entities);

    (3) Telecommunications or video surveillance services provided by such entities or using such equipment; or

    (4) Telecommunications or video surveillance equipment or services produced or provided by an entity that the Secretary of Defense, in consultation with the Director of National Intelligence or the Director of the Federal Bureau of Investigation, reasonably believes to be an entity owned or controlled by, or otherwise connected to, the government of a covered foreign country.
  Critical technology means—

    (1) Defense articles or defense services included on the United States Munitions List set forth in the International Traffic in Arms Regulations under subchapter M of chapter I of title 22, Code of Federal Regulations;

    (2) Items included on the Commerce Control List set forth in Supplement No. 1 to part 774 of the Export Administration Regulations under subchapter C of chapter VII of title 15, Code of Federal Regulations, and controlled—

      (i) Pursuant to multilateral regimes, including for reasons relating to national security, chemical and biological weapons proliferation, nuclear nonproliferation, or missile technology; or

      (ii) For reasons relating to regional stability or surreptitious listening;

    (3) Specially designed and prepared nuclear equipment, parts and components, materials, software, and technology covered by part 810 of title 10, Code of Federal Regulations (relating to assistance to foreign atomic energy activities);

    (4) Nuclear facilities, equipment, and material covered by part 110 of title 10, Code of Federal Regulations (relating to export and import of nuclear equipment and material);

    (5) Select agents and toxins covered by part 331 of title 7, Code of Federal Regulations, part 121 of title 9 of such Code, or part 73 of title 42 of such Code; or

    (6) Emerging and foundational technologies controlled pursuant to section 1758 of the Export Control Reform Act of 2018 (50 U.S.C. 4817).

  FASC-prohibited unmanned aircraft system means an unmanned aircraft system manufactured or assembled by an American Security Drone Act—covered foreign entity.

  FASCSA order means any of the following orders issued under the Federal Acquisition Supply Chain Security Act (FASCSA) requiring removing covered articles from executive agency information systems or excluding one or more named sources or named covered articles from executive agency procurement actions, as described in 41 CFR 201-1.303(d) and (e):

    (1) The Secretary of Homeland Security may issue FASCSA orders that apply to civilian agencies, to the extent not covered by paragraph (2) or (3) of this definition. This type of FASCSA order may be referred to as a Department of Homeland Security (DHS) FASCSA order.

    (2) The Secretary of Defense may issue FASCSA orders that apply to the Department of Defense (DoD) and national security systems other than sensitive compartmented information systems. This type of FASCSA order may be referred to as a DoD FASCSA order.

    (3) The Director of National Intelligence (DNI) may issue FASCSA orders that apply to the intelligence community and sensitive compartmented information systems, to the extent not covered by paragraph 

(2) of this definition. This type of FASCSA order may be referred to as a DNI FASCSA order.
  Information technology, as defined in 40 U.S.C. 11101(6)—

    (1) Means any equipment or interconnected system or subsystem of equipment, used in the automatic acquisition, storage, analysis, evaluation, manipulation, management, movement, control, display, switching, interchange, transmission, or reception of data or information by the executive agency, if the equipment is used by the executive agency directly or is used by a contractor under a contract with the executive agency that requires the use—

      (i) Of that equipment; or

      (ii) Of that equipment to a significant extent in the performance of a service or the furnishing of a product;

    (2) Includes computers, ancillary equipment (including imaging peripherals, input, output, and storage devices necessary for security and surveillance), peripheral equipment designed to be controlled by the central processing unit of a computer, software, firmware and similar procedures, services (including support services), and related resources; but

    (3) Does not include any equipment acquired by a Federal contractor incidental to a Federal contract.
  Intelligence community, as defined by 50 U.S.C. 3003(4), means the following—

    (1) The Office of the Director of National Intelligence;
    (2) The Central Intelligence Agency;
    (3) The National Security Agency;
    (4) The Defense Intelligence Agency;
    (5) The National Geospatial-Intelligence Agency;
    (6) The National Reconnaissance Office;
    (7) Other offices within the Department of Defense for the collection of specialized national intelligence through reconnaissance programs;
    (8) The intelligence elements of the Army, the Navy, the Air Force, the Marine Corps, the Coast Guard, the Federal Bureau of Investigation, the Drug Enforcement Administration, and the Department of Energy;
    (9) The Bureau of Intelligence and Research of the Department of State;
    (10) The Office of Intelligence and Analysis of the Department of the Treasury;
    (11) The Office of Intelligence and Analysis of the Department of Homeland Security; or
    (12) Such other elements of any department or agency as may be designated by the President, or designated jointly by the Director of National Intelligence and the head of the department or agency concerned, as an element of the intelligence community.

Interconnection arrangement means arrangements governing the physical connection of two or more networks to allow the use of another’s network to hand off traffic where it is ultimately delivered (e.g., connecting a customer of telephone provider A to a customer of telephone company B) or sharing data and other information resources.

  Kaspersky Lab-covered article means any hardware, software, or service that—

    (1) Is developed or provided by a Kaspersky Lab-covered entity;

    (2) Includes any hardware, software, or service developed or provided in whole or in part by a Kaspersky Lab-covered entity; or

    (3) Contains components using any hardware or software developed in whole or in part by a Kaspersky Lab-covered entity.

  Kaspersky Lab-covered entity means—
    (1) Kaspersky Lab;
    (2) Any successor entity to Kaspersky Lab, including any change in name, e.g., “Kaspersky”;
    (3) Any entity that controls, is controlled by, or is under common control with Kaspersky Lab; or
    (4) Any entity of which Kaspersky Lab has a majority ownership.

  National security system, as defined in 44 U.S.C. 3552, means any information system (including any telecommunications system) used or operated by an agency or by a contractor of an agency, or other organization on behalf of an agency—

    (1) The function, operation, or use of which involves intelligence activities; involves cryptologic activities related to national security; involves command and control of military forces; involves equipment that is an integral part of a weapon or weapons system; or is critical to the direct fulfillment of military or intelligence missions, but does not include a system that is to be used for routine administrative and business applications (including payroll, finance, logistics, and personnel management applications); or

    (2) Is protected at all times by procedures established for information that have been specifically authorized under criteria established by an Executive order or an Act of Congress to be kept classified in the interest of national defense or foreign policy.

  Roaming means cellular communications services (e.g., voice, video, data) received from a visited network when unable to connect to the facilities of the home network either because signal coverage is too weak or because traffic is too high.

  Sensitive compartmented information means classified information concerning or derived from intelligence sources, methods, or analytical processes, which is required to be handled within formal access control systems established by the Director of National Intelligence.

  Sensitive compartmented information system means a national security system authorized to process or store sensitive compartmented information.

  Source means a non-Federal supplier, or potential supplier, of products or services, at any tier.
  Subsidiary means an entity in which more than 50 percent of the entity is owned directly by a parent corporation or through another subsidiary of a parent corporation.

  Substantial or essential component means any component necessary for the proper function or performance of a piece of equipment, system, or service.

  Unmanned aircraft means an aircraft that is operated without the possibility of direct human intervention from within or on the aircraft (49 U.S.C. 44801(11)).

  Unmanned aircraft system means an unmanned aircraft and associated elements (including communication links and the components that control the unmanned aircraft) that are required for the operator to operate safely and efficiently in the national airspace system (49 U.S.C. 44801(12)).

  (b) Prohibitions on providing or using specific products or services in performance of contract. Unless a waiver or exception applies, the Contractor is prohibited from providing any products or services to the Government or using in the performance of the contract any of the following:

    (1) A covered application on any information technology owned or managed by the Government, or on any information technology used or provided by the Contractor under this contract, including equipment provided by the Contractor’s employees (section 102 of Division R of the Consolidated Appropriations Act, 2023 (Pub. L. 117-328));

    (2) A Kaspersky Lab-covered article (Section 1634 of Division A of the National Defense Authorization Act for Fiscal Year 2018 (Pub. L. 115-91));

    (3) Covered telecommunications equipment or services used as a substantial or essential component of any system, or as critical technology as part of any system (paragraphs (a)(1)(A) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)). This does not prohibit contractors from providing—

      (i) A service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

      (ii) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

  (c) Prohibition on unmanned aircraft systems manufactured or assembled by American Security Drone Act—covered foreign entities.

    (1) Prohibition. The Contractor is prohibited from—
      (i) Delivering any FASC-prohibited unmanned aircraft system, which includes unmanned aircraft (i.e., drones) and associated elements (sections 1823 and 1826 of American Security Drone Act of 2023, within the National Defense Authorization Act for Fiscal Year 2024, Pub. L. 118-31, Div. A, Title XVIII, Subtitle B, 41 U.S.C. 3901 note prec.);

      (ii) On or after December 22, 2025, operating a FASC-prohibited unmanned aircraft system in the performance of the contract (section 1824 of Pub. L. 118-31); and

      (iii) On or after December 22, 2025, using Federal funds to procure or operate a FASC-prohibited unmanned aircraft system (section 1825 of Pub. L. 118-31).

    (2) Procedures. The Contractor shall search SAM for the FASC-maintained list of American Security Drone Act—covered foreign entities before proposing, or using in performance of the contract, any unmanned aircraft system. Also, the Contractor shall ensure any effort or expenditure associated with a FASC-prohibited unmanned aircraft system is consistent with a corresponding exemption, exception, or waiver determination expressly stated in the contract.

    (3) Exemptions, exceptions, and waivers. The prohibitions in paragraph (c) of this clause do not apply where the agency has determined an exemption, exception, or waiver applies, and the contract indicates that such a determination has been made. See sections 1823 through 1825 and 1832 of Public Law 118-31 for statutory requirements pertaining to exemptions, exceptions, and waivers.

  (d) Prohibition on using or providing specific products or services or conducting certain transactions regardless of connection to contract.

    (1) Certain telecommunications and video surveillance equipment, systems, or services.

      (i) Unless an applicable waiver has been issued by the Government, the Contractor cannot use any equipment, systems, or services that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system (paragraph (a)(1)(B) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)).

      (ii) This prohibition applies to using covered telecommunications equipment or services, regardless of whether that use is in performance of work under a Federal contract. This does not prohibit the contractor from using—

        (A) A service that connects to the facilities of a third party, such as backhaul, roaming, or interconnection arrangements; or

        (B) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.
    (2) Office of Foreign Assets Control Restrictions.

      (i) Except as authorized by the Office of Foreign Assets Control (OFAC) in the Department of the Treasury, the Contractor shall not acquire, for use in the performance of this contract, any supplies or services if any proclamation, Executive order, or statute administered by OFAC, or if OFAC’s implementing regulations at 31 CFR chapter V, would prohibit such a transaction by a person subject to the jurisdiction of the United States.

      (ii) Except as authorized by OFAC, most transactions involving Cuba, Iran, and Sudan are prohibited, as are most imports from Burma or North Korea, into the United States or its outlying areas.

        (A) For lists of entities and individuals subject to economic sanctions, see OFAC’s List of Specially Designated Nationals and Blocked Persons at https://home.treasury.gov/policy-issues/financial-sanctions/specially-designated-nationals-and-blocked-persons-list-sdn-human-readable-lists.

        (B) For more information about these restrictions, as well as updates, see OFAC’s regulations at 31 CFR chapter V and at https://home.treasury.gov/policy-issues/office-of-foreign-assets-control-sanctions-programs-and-information.

        (C) To conduct electronic screens of potential parties to regulated transactions, see the consolidated screening list at https://www.trade.gov/consolidated-screening-list, which consolidates multiple export screening lists of the Departments of Commerce, State, and the Treasury.

    (3) Sudan prohibition. The Contractor is prohibited from conducting any restricted business operations in Sudan in accordance with Accountability and Divestment Act of 2007 (Pub. L. 110-174).

    (4) Iran prohibitions.

      (i) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, the contractor shall not engage in certain activities or transactions relating to Iran (section 6(b)(1)(A) of Iran Sanctions Act (50 U.S.C. 1701 note).

      (ii) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, contractor shall not export certain sensitive technology to Iran, as determined by the President, and has an active exclusion in SAM (22 U.S.C. 8515).

      (iii) The prohibition in paragraphs (d)(4)(i) and (d)(4)(ii) do not apply if the acquisition is subject to trade agreements and the offeror certifies that all the offered products are designated country end products or designated country construction material (see part 25).

      (iv) Unless an exception applies or the Government grants a waiver, contractors are prohibited from knowingly engaging in any significant transaction (i.e., over $15,000) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked according to the International Emergency Economic Powers Act (section 6(b)(1)(B) of Iran Sanctions Act (50 U.S.C. 1701 note)).

  (e) Governmentwide exclusion and removal orders.

    (1) Unless the Government has issued an applicable waiver, contractors shall not provide or use as part of the performance of the contract any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order as follows:
      (i) For solicitations and contracts awarded by a Department of Defense contracting office, DoD FASCSA orders apply.

      (ii) For all other solicitations and contracts, DHS FASCSA orders apply.

    (2) The Contractor shall search for the phrase “FASCSA order” in the System for Award Management (SAM) at https://www.sam.gov to locate applicable FASCSA orders.

    (3) The Government may identify in the solicitation other FASCSA orders that are not in SAM, which are effective and apply to the solicitation and resulting contract.

    (4) A FASCSA order issued after the date of solicitation applies to this contract only if added by an amendment to the solicitation or modification to the contract (see FAR 40.204-1(c)).

  (f)Reasonable inquiry. The contractor shall conduct a reasonable inquiry to determine if there are any prohibited products or services. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

  (g) Removal of prohibited products and services. For Federal Supply Schedules, Governmentwide acquisition contracts, multi-agency contracts or any other procurement instrument intended for use by multiple agencies, upon notification from the Contracting Officer, during the performance of the contract, the Contractor shall promptly make any necessary changes or modifications to remove any product or service produced or provided by a source that this clause prohibits.

  (h) General report.

    (1) If the Contractor identifies or is notified by any source, (including a subcontractor at any tier), that any product or service provided or used (or to be provided or used) during contract performance does not comply with any prohibition in this clause, then the Contractor shall report the following information, or as much information is known, in writing to the contracting office as identified in paragraph (h)(2) within 72 hours:

      (i) Contract number and order number, if applicable;
      (ii) The specific prohibition the product or service is not complying with;
      (iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);
      (iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));
      (v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;
      (vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the contractor would like the Government to consider a waiver, and asks for such a waiver);
      (vii) Whether alternative products or services are available that would comply with the prohibition;
      (viii) If the product or service is related to item maintenance, include the following information on the item being maintained:

        (A) Brand;
        (B) Model number, OEM number, manufacturer part number, or wholesaler number; and
        (C) Item description, as applicable.
      (ix) Any readily available information about mitigation actions implemented or recommended.

    (2) If a report must be submitted to a contracting office, the Contractor shall submit the report as follows:

      (i) If a Department of Defense contracting office, the Contractor shall report to the website at https://dibnet.dod.mil.

      (ii) For all other contracting offices, the Contractor shall report to the Contracting Officer.

      (iii) For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order.

    (3) If the report provided does not contain any of the information required by paragraph (h)(1) of this clause, and the contractor later discovers new information that is required by paragraph (h)(1) of this clause, then the contractor shall submit a subsequent report within 72 hours of discovering the new information.

    (4) The contractor shall also report the information in paragraph (h)(1) if the contractor wishes to ask for a waiver of the requirements of a new FASCSA order being applied through modification.
  (i) New FASCSA orders report.

    (1) During contract performance, the Contractor shall review SAM at least once every three months, or as advised by the Contracting Officer, to check for covered articles subject to FASCSA order(s), or for products or services produced by a source subject to FASCSA order(s) not currently identified under paragraph (e) of this clause.

    (2) If the Contractor identifies a new FASCSA order(s) that could impact their supply chain, then the Contractor shall conduct a reasonable inquiry to identify whether a covered article or product or service produced or provided by a source subject to the FASCSA order(s) was provided to the Government or used during contract performance. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

    (3) The Contractor shall submit a report to the contracting office identified in paragraph (h)(2) of this clause if the Contractor identifies, including through any notification by a subcontractor at any tier, that a covered article or product or service produced or provided by a source was provided to the Government or used during contract performance and is subject to a FASCSA order(s). For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order. The Contractor shall report the following information within 72 hours for each covered article or each product or service produced or provided by a source, where the covered article or source is subject to a FASCSA order:

      (i) Contract number and order number, if applicable;
      (ii) Name of the covered article or source subject to a FASCSA order;
      (iii) The specific FASCSA order the product or service does not comply with;
      (iv) The elements of (h)(1)(iii) through (ix) of this clause.

  (j) Subcontracts. The Contractor shall insert the substance of this clause, including this paragraph (j) but excluding subparagraphs (d)(1) and (i)(1), in all subcontracts and other contractual instruments, including subcontracts for acquiring commercial products or commercial services.

(End of Provision)

52.240-92  SECURITY REQUIREMENTS (NOV 2025) (DEVIATION) ALTERNATE I (NOV 2025)
  (a) This clause applies to the extent that this contract involves access to information classified Confidential, Secret, or Top Secret.

  (b) The Contractor shall comply with—

    (1) The Security Agreement (DD Form 441), including the National Industrial Security Program Operating Manual (32 CFR part 117); and

    (2) Any revisions to that manual, notice of which has been furnished to the Contractor.

  (c) If, after the date of this contract, the security classification or security requirements under this contract are changed by the Government and if the changes cause an increase or decrease in security costs or otherwise affect any other term or condition of this contract, the contract must be subject to an equitable adjustment as if the changes were directed under the Changes clause of this contract

  (d) The Contractor agrees to insert terms that conform substantially to the language of this clause, including this paragraph (d) but excluding any reference to the Changes clause of this contract, in all subcontracts under this contract that involve access to classified information.

  (e) A subcontractor requiring access to classified information under a contract shall be identified with a CAGE code on the DD Form 254. The Contractor shall require a subcontractor requiring access to classified information to provide its CAGE code with its name and location address or otherwise include it prominently in the proposal. Each location of subcontractor performance listed on the DD Form 254 is required to reflect a corresponding unique CAGE code for each listed location unless the work is being performed at a Government facility, in which case the agency location code shall be used. The CAGE code must be for that name and location address. Insert the word “CAGE” before the number. The CAGE code is required prior to award. The contractor shall ensure that subcontractors maintain their CAGE code(s) throughout the life of the contract.

  (f)(1) If a change in security requirements, as provided in paragraphs (b) and (c), results in a change in the security classification of this contract or any of its elements from an unclassified status or a lower classification to a higher classification, or in more restrictive area controls than previously required, then the Contractor must exert every reasonable effort compatible with the Contractor’s established policies to continue performing the work under the contract to comply with the change in security classification or requirements.
    (2) If, despite reasonable efforts, the Contractor determines that continuing work under this contract is not practical because of the change in security classification or requirements, the Contractor shall notify the Contracting Officer in writing. Until the Contracting Officer resolves this problem, the Contractor shall continue safeguarding all classified material as required by this contract.

  (g) After receiving the written notification, the Contracting Officer shall explore the circumstances surrounding the proposed change in security classification or requirements and must try to work out a mutually satisfactory method so the Contractor can continue doing the work under this contract.

  (h) If, 15 days after receipt by the Contracting Officer of the notification of the Contractor’s stated inability to proceed, the application to this contract of the change in security classification or requirements has not been withdrawn or a mutually satisfactory method for continuing performance of work under this contract has not been agreed upon, the Contractor may request the Contracting Officer to terminate the contract in whole or in part. The Contracting Officer shall terminate the contract in whole or in part, as may be appropriate, and the termination must be deemed a termination under the terms of the Termination for the Convenience of the Government clause.

(End of Provision)

52.240-93  BASIC SAFEGAURDING OF COVERED CONTRACTOR INFORMATION SYSTEMS (DEVIATION) (NOV 2025) 
  (a) Definitions. As used in this clause—
  Covered contractor information system means an information system that is owned or operated by a contractor that processes, stores, or transmits Federal contract information.

  Federal contract information—

    (1) Means information, not intended for public release, that is provided by or generated for the Government under a contract to develop or deliver a product or service to the Government; but

    (2) Does not include information provided by the Government to the public (such as on public websites) or simple transactional information (such as information necessary to process payments).

  Information means any communication or representation of knowledge such as facts, data, or opinions, in any medium or form, including textual, numerical, graphic, cartographic, narrative, or audiovisual (Committee on National Security Systems Instruction (CNSSI) 4009).

  Information system means a discrete set of information resources organized for the collection, processing, maintenance, use, sharing, dissemination, or disposition of information (44 U.S.C. 3502).
  Safeguarding means measures or controls that are prescribed to protect information systems.

  (b) Safeguarding requirements.

    (1) Basic requirements. The Contractor shall safeguard its covered contractor information systems by implementing, at minimum, the following security controls:

      (i) Limit information system access to authorized users, processes acting on behalf of authorized users, or devices (including other information systems).
      (ii) Limit information system access to the types of transactions and functions that authorized users are permitted to execute.
      (iii) Verify and control/limit connections to and use of external information systems.
      (iv) Control information posted or processed on publicly accessible information systems.
      (v) Identify information system users, processes acting on behalf of users, or devices.
      (vi) Authenticate (or verify) the identities of those users, processes, or devices, as a prerequisite to allowing access to organizational information systems.
      (vii) Sanitize or destroy information system media containing Federal Contract Information before disposal or release for reuse.
      (viii) Limit physical access to organizational information systems, equipment, and the respective operating environments to authorized individuals.
      (ix) Escort visitors and monitor visitor activity; maintain audit logs of physical access; and control and manage physical access devices.
      (x) Monitor, control, and protect organizational communications (i.e., information transmitted or received by organizational information systems) at the external boundaries and key internal boundaries of the information systems.
      (xi) Implement subnetworks for publicly accessible system components that are physically or logically separated from internal networks.
      (xii) Identify, report, and correct information and information system flaws in a timely manner.
      (xiii) Provide protection from malicious code at appropriate locations within organizational information systems.
      (xiv) Update malicious code protection mechanisms when new releases are available.
      (xv) Perform periodic scans of the information system and real-time scans of files from external sources as files are downloaded, opened, or executed.

    (2) Other requirements. This clause does not relieve the Contractor of any other specific safeguarding requirements specified by Federal departments and agencies relating to covered contractor information systems generally or other Federal safeguarding requirements for controlled unclassified information (CUI) as established by Executive Order 13556.

  (c) Subcontracts. The Contractor shall include the substance of this clause, including this paragraph (c), in subcontracts under this contract (including subcontracts for the acquisition of commercial products, other than commercially available off-the-shelf items, or commercial services), in which the subcontractor may have Federal contract information residing in or transiting through its information system.
[bookmark: _Toc256000011](End of Provision)















52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)
This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):
  https://www.acquisition.gov/browse/index/far
  https://www.va.gov/oal/library/vaar/
  https://www.va.gov
(End of Clause)
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	52.203-6
	RESTRICTIONS ON SUBCONTRACTOR SALES TO THE GOVERNMENT ALTERNATE I (NOV 2021)
	JUN 2020

	52.203-13
	CONTRACTOR CODE OF BUSINESS ETHICS AND CONDUCT
	NOV 2021

	52.203-17
	CONTRACTOR EMPLOYEE WHISTLEBLOWER RIGHTS
	NOV 2023

	52.203-19
	PROHIBITION ON REQUIRING CERTAIN INTERNAL CONFIDENTIALITY AGREEMENTS OR STATEMENTS
	JAN 2017

	52.204-9
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	JAN 2011

	52.204-13
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	NOV 2025
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	JAN 2025

	52.209-9
	UPDATES OF PUBLICLY AVAILABLE  INFORMATION REGARDING RESPONSIBILITY MATTERS
	OCT 2018

	52.209-10
	PROHIBITION ON CONTRACTING WITH INVERTED DOMESTIC CORPORATIONS
	NOV 2015

	52.219-6
	NOTICE OF TOTAL SMALL BUSINESS SET-ASIDE (DEVIATION)
	NOV 2025

	52.219-8
52.219-9
	UTILIZATION OF SMALL BUSINESS CONCERNS (DEVIATION)
SMALL BUSINESS SUBCONTRACTING PLAN (DEVIATION)
	NOV 2025
NOV 2025

	52.219-14
	LIMITATIONS ON SUBCONTRACTING (DEVIATION)
	NOV 2025

	52.219-16
	LIQUIDATED DAMAGES—SUBCONTRACTING PLAN (DEVIATION)
	NOV 2025

	52.219-33
	NONMANUFACTURER RULE (DEVIATION)
	NOV 2025

	52.222-3
	CONVICT LABOR (DEVIATION)
	NOV 2025

	52.222-19
	CHILD LABOR—COOPERATION WITH AUTHORITIES AND REMEDIES (DEVIATION)
	MAR 2026

	52.222-35
	EQUAL OPPORTUNITY FOR VETERANS (DEVIATION)
	NOV 2025

	52.222-36
	EQUAL OPPORTUNITY FOR WORKERS WITH DISABILITIES (DEVIATION)
	NOV 2025

	52.222-37
	EMPLOYMENT REPORTS ON VETERANS (DEVIATION)
	NOV 2025

	52.222-40
	NOTIFICATION OF EMPLOYEE RIGHTS UNDER THE NATIONAL LABOR RELATIONS ACT (DEVIATION)
	NOV 2025

	52.222-41
	SERVICE CONTRACT LABOR STANDARDS (DEVIATION)
	NOV 2025

	52.222-42
	STATEMENT OF EQUIVALENT RATES FOR FEDERAL HIRES
	MAY 2014

	52.222-50
	COMBATING TRAFFICKING IN PERSONS (DEVIATION)
	NOV 2025

	52.222-54
	EMPLOYMENT ELIGIBILITY VERIFICATION (DEVIATION)
	NOV 2025

	52.222-62
	PAID SICK LEAVE UNDER EXECUTIVE ORDER 13706 (DEVIATION)
	NOV 2025

	52.223-11
	OZONE-DEPLETING SUBSTANCES (DEVIATION)
	NOV 2025

	52.223-12
	MAINTENANCE, SERVICE, REPAIR, OR DISPOSAL OF REFRIGERATION EQUIPMENT AND AIR CONDITIONERS (DEVIATION)
	NOV 2025
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	ENCOURAGING CONTRACTOR POLICIES  TO BAN TEXT MESSAGING WHILE DRIVING
	MAY 2024
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	TAX ON CERTAIN FOREIGN PROCUREMENTS
	FEB 2021
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	NOV 2021
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	OCT 2018
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	MAR 2023
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	52.233-4
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	52.244-6
	SUBCONTRACTS FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (DEVIATION)
	APR 2026




To facilitate the award process, all quotes must include a statement regarding the terms and conditions herein as follows:
"The terms and conditions in the solicitation are acceptable to be included in the award document without modification, deletion, or addition."
OR
"The terms and conditions in the solicitation are acceptable to be included in the award document with the exception, deletion, or addition of the following:"

 Quoters shall list exception(s) and rationale for the exception(s), if any.

Submission of your response shall be received not later than 10/23/2026 at 1500 to christopher.callihan@va.gov.  

Late submissions shall be treated in accordance with the solicitation provision at FAR 52.212-1(f). 

Any questions or concerns regarding this solicitation should be forwarded in writing via e-mail to the Point of Contact listed below. 


Point of Contact
Christopher A. Callihan
Contracting Officer 
Network Contracting Office 10 (Indiana, Ohio, & Michigan)
U.S Department of Veterans Affairs
Office: (216) 707-7736
eMail: christopher.callihan@va.gov
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