TECHNICAL REQUIREMENTS DOCUMENT

CABLES ASSEMBLYS, CONDUITS, AND REEL

FOR THE ELECTRIC POWER PLANT III

TABLE OF CONTENTS

INTRODUCTION………………………………………………………………………………………………   4

APPLICABLE DOCUMENTS	4

CONFIGURATION BASELINE	4

Obsolescence Management Requirements / Obsolete Components and Materials	5

Part Revisions 	5

SPECIAL INSTRUCTIONS	6

PACKAGING	9

Wood Packing Material	9

Military Packaging	9

CONTRACT DATA REQUIREMENT LIST (CDRL) DD 1423-1	11

CDRL List	11

Individual CDRLs	11

# INTRODUCITON:

The Defense Logistics Agency-Aberdeen, on behalf of the Army Integrated Logistics Supply Center (ILSC), intends to acquire Parts to support the Electric Power Plant (EPP) III.  The EPP III is the main electric power source for the PATRIOT Missile Defense System, and the selected parts have been identified for maintenance and sustainment purposes.   The parts consists of various cables, conduits, and a reel on which cabling sits. These cables are used between the Power Distribution Unit to the Generator Sets.

# APPLICABLE DOCUMENTS

| Military and Federal Standards |  |
| --- | --- |
| MIL-STD-130N w/Change 1 | Identification Marking of U.S. Military Property |
| MIL-STD-129R w/Change 3 | Military Marking for Shipment and Storage |
| MIL-STD-2073-1E w/ Change 4 | Standard Practice for Military Packaging |
| Military and Federal Specifications |  |
| N/A |  |
| Other Documents |  |
| Commercial Documents |  |
| ISPM Number 15 | Regulation of Wood Packaging Material in International Trade |
| ANSI/TA-STD-0016 | Standard for Preparing a Diminishing Manufacturing Sources and Material Shortages (DMSMS) Management Plan |
| ANSI/ISO/ASQ(E)Q 9001-2015 | American National Standard, Quality Management Systems-Requirements |
| Security Documents |  |
| CECOM G2 | Antiterrorism/OPSEC /Security Cybersecurity Review Cover Sheet |

# CONFIGURATION BASELINE

The applicable Configuration Baselines (CB), for the listed Configuration Item (CI) and/or Computer Software Configuration Item (CSCI), are as listed in the table below.

| NSN | Nomenclature | Part Number |
| --- | --- | --- |
| 6150-12-343-3731 | CABLE ASSEMBLY,SPEC | 180.01.0501 |
| 6150-12-343-3732 | CABLE ASSEMBLY,SPEC | 180.01.0504 |
| 6150-12-343-3733 | CABLE ASSEMBLY,SPEC | 180.01.0058 |
| 6150-12-343-3734 | CABLE ASSEMBLY,SPEC | 180.01.0502 |
| 6150-12-343-3735 | CABLE ASSEMBLY,SPEC | 180.01.0503 |
| 6150-12-343-3736 | CABLE ASSEMBLY,SPEC | 180.01.0050 |
| 6150-12-343-3737 | CABLE ASSEMBLY,SPEC | 180.01.0505 |
| 6150-12-343-3738 | CABLE ASSEMBLY,SPEC | 180.01.0148 |
| 6150-12-343-3739 | CABLE ASSEMBLY,SPEC | 180.01.0149 |
| 5975-12-343-4086 | CONDUIT ASSEMBLY | 115.02.0016 |
| 5975-12-343-4089 | CONDUIT ASSEMBLY | 115.02.0010 |
| 8130-12-358-4625 | REEL CABLE | 480.02.0047 |
| 5945-01-577-2614 | RELAY, HYBRID | 335.01.0040 |
| 5975-12-343-4088 | CONDUIT ASSEMBLY | 115.02.0006 |

## Obsolescence Management Requirements / Obsolete Components and Materials

## Part Revisions

Departures from Configuration Baseline (CB).  No changes or departures from the CB are acceptable except for changes or departures which are submitted in accordance with DI-MISC-80711A and are approved by the Government Configuration Manager (C Mgr.) or Configuration Management Officer (CMO) and which are made applicable to the contract by the PCO.  Configuration Control shall be affected by the Configuration Control Documents (CCDs) as follows:

Engineering Change Proposal (ECP) includes both the engineering change and the supporting documentation by which the change is described and suggested.  An ECP describes changes to the CI/CSCI and associated Government documents and data that are affected by the proposed engineering change.

A Notice of Revision (NOR) shows the detailed changes that must be made to technical documentation, except specifications, (one NOR per document) following approval of an ECP.  The NOR is submitted as part of the ECP and is used to determine any Technical Manual (TM) impacts. The Government must be notified of any part changes in order to update the proper TMs.

A Specification Change Notice (SCN) is used to delineate the exact change(s) in a specification that will be distributed to users when the ECP is approved.  The SCN is submitted as part of the ECP.  The SCN is not used for a military or federal document, only a Request for Waiver can be used for those documents.

Value Engineering Change Proposal (VECP) is the same as an ECP except there are proposed cost savings for the program.  The contractor shall follow the guidance in Section I of this contract for VECPs.

Request for Waiver (RFW) describes a departure from configuration documentation for a specific number of units or period of time.  Contractor shall identify the impact of the RFW on performance, operational readiness and logistics support of the affected CIs.  The Government will require compensation for any RFW.

Contractor shall provide all supporting program or cost data with the CCD.  The contractor shall uniquely and sequentially identify (including the use of the contract number) each ECP, VECP, NOR, SCN or RFW.  The identification number should use less than 16 characters.

Identification of Authorized Personnel.  The contractor shall identify to the PCO, Administrative Contracting Officer (ACO), and the technical office identified on the DD Form 1423 for DI-MISC-80711A, the name(s) of the official(s) of its organization who are authorized to submit CCDs 30 Days after Contract (DAC).

Documentation.  The contractor shall document by serial number each products configuration, applicable documentation, maintenance support requirements and spares in relation to the contractor’s configuration baseline.  The data in use shall be available for government review and use.

Use of CB Data.  The contractor shall assure that all necessary contractor’s activities have access to and use of the contractually specified configuration baseline(s), approved changes and departures, and effectivity data.  The data in use shall be available for government review and use.

# SPECIAL INSTRUCTIONS

Requirements for Item Marking (Commercial Off The Shelf Items).  Part Number Marking.  Each item delivered under contract, along with each assembly, sub assembly, and module, shall be legibly marked with the appropriate part number and manufacturer’s identification. Hardware such as screws, nuts, bolts, etc., need not be marked.  This requirement should be entirely met by the contractor’s standard commercial marking. However, if there is any question about marking it shall be directed to the Contracting Officer for resolution.

Requirements for Item Unique Identification (IUID).  The contractor shall mark all contract deliverables In Accordance With (IAW) DFARS clause 252.211-7003 in this contract and the following requirements.

IUID Marking.

IUID markings shall be IAW MIL-STD-130N.

Commercial Markings.

Permanency and Legibility.  The IUID marking and identification plates, tags, etching, or labels when used on equipment, parts, assemblies, subassemblies, units, sets, groups, or kits shall be as permanent as the normal life expectancy of the item and be capable of withstanding the environment, test, cleaning, repair, and rebuild procedures specified for the item.  Legibility shall be as required and verified for ready readability per MIL-STD-130N.

Deleterious Effect.  Marking of items shall be accomplished in a manner that will not adversely affect the life and utility of the item. Marking materials creating hazardous conditions shall not be used. Placement and choice of the marking shall not create hazardous conditions.

IUID Coding.  IUID markings and readability requirements shall comply with MIL-STD-130N.

Symbology markings and the order of priority for marking the hardware shall be in accordance with MIL-STD 130N.  First priority is the 2D data matrix symbol (machine readable) IUID is the minimum requirement when there are severe space limitations. The second priority is the human readable characters. The third priority is the Linear Bar Code.

If the technical data has not specified the marking location, markings shall be located such that they are visible during item use, provided that sufficient space is available, and does not interfere with equipment operations.

If items are not described by Government Product Technical Data (i.e. Commercial Items), the contractor shall submit diagrams showing placement and description of the IUID marking and applicable installation and processing instructions for government review and approval IAW with CDRL for DI-MISC-80711A and this Technical Requirements Document (TRD)

The contractor shall maintain an accurate, current list of IUIDs for all manufactured items on this contract.  Dates of manufacture, substitutions, shop changes, etc. shall be included on this list.  The list shall be available for inspection by the PCO or other Government representative at any time during the life of this contract.  The contractor shall provide this list to the government at the end of the contract.

Pricing of IUID Requirements.  All efforts required by this TRD and contract, including, but not limited to, the preparation of ECPs or notification of marking deficiencies, PIPC reporting, serial number data reporting at end of contract and the actual marking of hardware, will be included in the base unit price.

Requirements for Final Inspection and Test . The contractor shall implement and maintain a Final Inspection and Test System that meets or exceeds the requirements established below. These requirements are commonly accepted practices employed by industry. 

Quality System . The contractor shall establish/maintain an effective inspection and test system for final inspection and test of completed products IAW ANSI/ISO/ASQ(E) Q9001-2015.

Inspection and Testing Procedures . The contractor shall utilize documented procedures for final inspection and testing of finished products to ensure that all contract requirements are satisfied. 

Inspection and Testing . The quality system shall assure that all final inspections and tests required satisfying contract requirements are conducted. 

Records . The contractor shall maintain adequate records of final inspections and tests to demonstrate that the product satisfies contract requirements. 

Measuring, Testing, and Inspection Equipment . The contractor shall provide and maintain gages (including production tooling used for inspection purposes) and other measuring and testing equipment to assure that finished products conform to contract requirements. These devices shall be calibrated against certified measurement standards that are traceable back to national/international standards. 

Inspection and Test Status . The contractor shall maintain a system for the identification of the final inspection and test status of all products. 

Nonconforming Material . The contractor shall establish and maintain a system for controlling material that does not satisfy contract requirements, including procedures for its identification, segregation, and disposition (rework/repair, scrap, etc.). 

Corrective Action . The contractor shall promptly act to correct nonconforming materials and processes to preclude the recurrence of the problem and to satisfy contract requirements. 

Training Requirements . The contractor shall identify/provide for the training needs of their personnel performing inspections and tests. 

Handling, Storage, Preservation, Packaging, and Shipping . The Contractor shall establish, maintain, control, and be responsible for the procedures for handling, storage, preservation, packaging, and shipping to protect the quality of materials and to prevent damage, loss, deterioration, degradation, or substitution of products.

## Wood Packing Material

Wood Packaging Material in accordance with ISPM-15, Regulation of Wood Packaging Material in International Trade, is applicable.  Wood packing material includes pallets.  See DLAD T/Q Requirement RP001 DLA Packaging Requirements for Procurement, which includes requirements for treatment of wood packaging material.

## Military Packaging

DS7029 and/or DS7033    Preservation, Packing and Marking Instructions

Military Packaging in accordance with MIL-STD-2073-1E is applicable.

| DS7029 - DS7033 LEGEND |  |
| --- | --- |
| Qty | Quantity |
| Prot Req | Protection Required |
| PKG-REF | Packaging Reference (Military/Federal Specification or Standard) |
| SPI | Special Packaging Instruction |
| LPK | Level of Packing |
| QUP | Quantity per Unit Pack |
| ICQ | Intermediate Container Quantity |
| Pkg Reqmt Codes | Packaging Requirement Codes when PKG-REF cites MIL-STD-2073 |
| The below codes are for special markings: |  |
| PC | Project Code |
| WG | Warranty/Guarantee |
| SL | Shelf Life |
| BC | Bar Code |
| FMS | Foreign Military Sales |

| DS7029 - DS7033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NSN | Prot Req | PKG-REF or SPI | LPK | QUP | ICQ |  |  |  |  |  |  |  |  |  |  |  | Special Markings |
|  |  |  |  |  |  | Pkg | J. | J | J | J | J | J | J | J | J | J |  |
|  |  |  |  |  |  | Reqmt | I. | II. | III. | IV. | V. | VI. | VII. | VII.a | IX | X |  |
|  |  |  |  |  |  | Codes | (MP) | (CD) | (PM) | (WM) | (CD) | (CT) | (UC) | (IC) | (PK) | (SM) |  |
| 6150-12-343-3731 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | NA | Z | ED | 00 | Q | 00 | BC |
| 6150-12-343-3732 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | NA | Z | A1 | ED | Q | 00 | BC |
| 6150-12-343-3733 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | NA | Z | A1 | ED | Q | 00 | BC |
| 6150-12-343-3734 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | ZZ | Z | A2 | ED | Q | 00 | BC |
| 6150-12-343-3735 | Military | MIL-STD-2073-1E | B | 001 |  |  | 31 | 1 | 00 | 00 | NA | Z | BL | ED | Q | 00 | BC |
| 6150-12-343-3736 | Military | MIL-STD-2073-1E | B | 001 |  |  | 31 | 1 | 00 | 00 | NA | Z | BL | ED | Q | 00 | BC |
| 6150-12-343-3737 | Military | MIL-STD-2073-1E | B | 001 |  |  | 31 | 1 | 00 | 00 | NA | Z | BL | ED | Q | 00 | BC |
| 6150-12-343-3738 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | 00 | 0 | FD | 00 | Q | 00 | BC |
| 6150-12-343-3739 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | 00 | 0 | FD | 00 | Q | 00 | BC |
| 5975-12-343-4086 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | NA | A | A2 | ED | Q | 00 | BC |
| 5975-12-343-4088 | Military | MIL-STD-2073-1E | B | 001 |  |  | 10 | 1 | 00 | 00 | NA | A | A2 | ED | Q | 00 | BC |
| 5975-12-343-4089 | Military | MIL-STD-2073-1E | B | 001 |  |  | 41 | 1 | 00 | 00 | NA | D | ED | 00 | Q | 00 | BC |
| 8130-12-358-4625 | Military | MIL-STD-2073-1E | B | 001 |  |  | 41 | 1 | 00 | 00 | NA | D | F2 | 00 | Q | 00 | BC |
| 5945-01-577-2614 | Military | MIL-STD-2073-1E | B | 001 |  |  | 52 | 1 | 00 | 00 | NA | B | ED | 00 | Q | 00 | BC |

# CONTRACT DATA REQUIREMENT LIST (CDRL) DD 1423-1

## CDRL List

| CDRL Data Line No. | DID Identification |  | Title |
| --- | --- | --- | --- |
| A001 | DI-MISC- | 80711A | Scientific and Technical Reports – IUID Marking Diagram / Instructions |
| B001 | DI-PSSS- | 81656B | Bill of Materials (BOM) for Logistics & Supply Chain Risk Management – Production |

## Individual CDRLs

CDRLs are shown starting on the next page.

| CONTRACT DATA REQUIREMENTS LIST (1 Data Item) |  |  |  |  |  |  |  |  |  |  | Form Approved OMB No. 0704-0188 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Public reporting burden for this collection of information is estimated to average 110 hours per response, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden, to Department of Defense, Washington Headquarters Services, Directorate for Information Operations and Reports, 1215 Jefferson Davis Highway, Suite 1204, Arlington, VA. 22202-4302, and to the Office of Management and Budget, Paperwork Reduction Project (0704-0188), Washington, DC 20503. Please DO NOT RETURN your form to either of these addresses. Send completed form to the Government Issuing Contracting Officer for Contract/PR No. listed in Block E. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. CONTRACT LINE ITEM NO. |  |  | B. EXHIBIT |  |  |  | C. CATEGORY: |  |  |  |  |  |  |  |
| A001 |  |  |  |  |  |  | TDP TM OTHER MISC |  |  |  |  |  |  |  |
| D. SYSTEM/ITEM |  |  |  |  |  | E. CONTRACT/PR NO. |  |  | F. CONTRACTOR |  |  |  |  |  |
| Compoenets for the Electric Power Plant III U/W PATRIOT |  |  |  |  |  | TBD |  |  | TBD |  |  |  |  |  |
| 1. DATA ITEM NO. |  | 2. TITLE OF DATA ITEM |  |  |  |  |  |  | 3. SUBTITLE |  |  |  |  |  |  | 17. PRICE GROUP |
|  |  | Scientific and Technical Reports |  |  |  |  |  |  | IUID Marking Diagram/Instructions |  |  |  |  |  |  |  |
| 4. AUTHORITY (Data Acquisition Document No.) |  |  |  | 5. CONTRACT REFERENCE |  |  |  |  |  | 6. REQUIRING OFFICE |  |  |  |  |  | 18. ESTIMATED TOTAL PRICE |
| DI-MISC-80711A |  |  |  | TBD |  |  |  |  |  | FCDD-ISR-HFF |  |  |  |  |  | Insert |
| 7. DD 250 REQ | 9.DIST STATEMENT REQUIRED |  | 10. FREQUENCY |  |  |  | 12. DATE OF FIRST SUBMISSION |  |  | 14. DISTRIBUTION |  |  |  |  |  | IN |
| DD |  |  | ASREQ |  |  |  | See BLOCK 16 |  |  |  |  | b. COPIES |  |  |  | SECT. B |
| 8. APP CODE | N/A |  | 11. AS OF DATE |  |  |  | 13. DATE OF SUBSEQUENT SUBMISSION |  |  | a. ADDRESSEE |  | Draft | Final |  |
| A |  |  | N/A |  |  |  | See BLOCK 16 |  |  |  |  |  | Reg | Repro |
| 16. REMARKS: Block 4: Delete Block 10.2 of Data Item Description (DID) and prepare in accordance with the Statement of Work. Block 12: Delivery of draft shall be 30 DAC. Government has 30 days to review/comment. Block 13 Delivery of final shall be 30 days after receipt of Government comments. Government has 30 days to determine acceptance. Contractor to submit DD250 upon acceptance of UID Marking Diagram/Instructions. Block 14: All digital files will be provided both by electronic submission, e.g., e-mail, FTP, etc., as arranged with the requiring office. If the CDRL Data Deliverable is priced and is not NSP (Not Separately Priced), then an electronic DD Form 250 will be required via the Wide Area Workflow website in order for the contractor to receive payment for the data deliverable (see section G of the Contract). CDRLs that are NSP shall not use WAWF to notify the government. E-mail notification is required with any electronic submission. |  |  |  |  |  |  |  |  |  | FCDD-ISR-HFF |  | 1 | 1 | 0 |
|  |  |  |  |  |  |  |  |  |  | 15. TOTAL |  | 1 | 1 | 0 |
| G. PREPARED BY |  |  |  |  | H. DATE |  |  | I. APPROVED BY |  |  |  | J. DATE |  |  |
| Dave Teicher FCDD-ISR-HFF Lead General Engineer |  |  |  |  | 03/16/26 |  |  |  |  |  |  | 3/16/26 |  |  |

| CONTRACT DATA REQUIREMENTS LIST (1 Data Item) |  |  |  |  |  |  |  |  |  |  | Form Approved OMB No. 0704-0188 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Public reporting burden for this collection of information is estimated to average 110 hours per response, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden, to Department of Defense, Washington Headquarters Services, Directorate for Information Operations and Reports, 1215 Jefferson Davis Highway, Suite 1204, Arlington, VA. 22202-4302, and to the Office of Management and Budget, Paperwork Reduction Project (0704-0188), Washington, DC 20503. Please DO NOT RETURN your form to either of these addresses. Send completed form to the Government Issuing Contracting Officer for Contract/PR No. listed in Block E. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. CONTRACT LINE ITEM NO. |  |  | B. EXHIBIT |  |  |  | C. CATEGORY: |  |  |  |  |  |  |  |
| B001 |  |  |  |  |  |  | TDP TM OTHER MISC |  |  |  |  |  |  |  |
| D. SYSTEM/ITEM |  |  |  |  |  | E. CONTRACT/PR NO. |  |  | F. CONTRACTOR |  |  |  |  |  |
| Components for the Electric Power Plant III U/W PATRIOT |  |  |  |  |  | TBD |  |  | TBD |  |  |  |  |  |
| 1. DATA ITEM NO. |  | 2. TITLE OF DATA ITEM |  |  |  |  |  |  | 3. SUBTITLE |  |  |  |  |  |  | 17. PRICE GROUP |
|  |  | Bill of Materials (BOM) for Logistics & Supply Chain Risk Management |  |  |  |  |  |  | Production Phase |  |  |  |  |  |  |  |
| 4. AUTHORITY (Data Acquisition Document No.) |  |  |  | 5. CONTRACT REFERENCE |  |  |  |  |  | 6. REQUIRING OFFICE |  |  |  |  |  | 18. ESTIMATED TOTAL PRICE |
| DI-PSSS-81656B |  |  |  | TBD |  |  |  |  |  | FCDD-ISR-HFF |  |  |  |  |  | Insert |
| 7. DD 250 REQ | 9.DIST STATEMENT REQUIRED |  | 10. FREQUENCY |  |  |  | 12. DATE OF FIRST SUBMISSION |  |  | 14. DISTRIBUTION |  |  |  |  |  | IN |
| DD |  |  | BLOCK 16 |  |  |  | 60 DAC |  |  |  |  | b. COPIES |  |  |  | SECT. B |
| 8. APP CODE | N/A |  | 11. AS OF DATE |  |  |  | 13. DATE OF SUBSEQUENT SUBMISSION |  |  | a. ADDRESSEE |  | Draft | Final |  |
| A |  |  | N/A |  |  |  | See BLOCK 16 |  |  |  |  |  | Reg | Repro |
| 16. REMARKS: The government requires 30 days to provide comments or approve the first submission. Subsequent semiannual submissions to reflect changes or updates will be submitted 30 days prior to each OWG meeting. Government comments or approval of subsequent submissions will occur concurrent with the OWG minutes. The contractor needs only to submit data for the following BOM data fields: OEM Part Number, OEM CAGE, Software/Firmware Version (if applicable), Indenture Level, Reference Designator (if assigned), NHA Part Number, NHA CAGE, Nomenclature, NSN (if assigned), Manufacturer's Part Number and Manufacturer's CAGE. The contractor shall also provide the following additional data fields; "Case Number" (if assigned), "Case Status" (open (being worked); pending approval (submitted to the government for approval); resolved (approved); closed (implemented)), "End of Life (EOL) date". Note that where the configuration baseline is to government drawings rather than OEM p/n's, then the government drawing numbers & CAGE codes shall be used in lieu of the OEM p/n & CAGE in the BOM. Submit electronically in Microsoft Excel format (unless otherwise approved by the government) |  |  |  |  |  |  |  |  |  | FCDD-ISR-HFF |  | 1 | 1 | 0 |
|  |  |  |  |  |  |  |  |  |  | 15. TOTAL |  | 1 | 1 | 0 |
| G. PREPARED BY |  |  |  |  | H. DATE |  |  | I. APPROVED BY |  |  |  | J. DATE |  |  |
| Dave Teicher FCDD-ISR-HFF Lead General Engineer |  |  |  |  | 03/16/26 |  |  |  |  |  |  | 03/6/26 |  |  |