Toxic Industrial Chemical/Material Military Exposure Guideline (mg/L) Challenge Concentration (mg/L)

| Class / Group | Chemical (CASRN) | Target influent challenge concentration (mg/L ± 20% ) a | Minimum percent reduction |
| --- | --- | --- | --- |
| inorganic | arsenic V (pentavalent) (7778-43-0) | 0.6 | ≥ 90% |
| inorganic | arsenic III (trivalent) (7778-43-0) | 0.6 | ≥ 90% |
| inorganic | cyanide b (143-33-9) | 2 | ≥ 90% |
| inorganic | mercury c (7487-84-7) | 0.02 | ≥ 90% |
| VOC surrogate | chloroform (67-66-3) | 0.3 | ≥ 95% |
| gasoline / diesel | benzene (71-43-2) | 0.05 | ≥ 90% |
|  | toluene (108-88-3) | 5 | ≥ 90% |
|  | 1,3,5-trimethylbenzene (108-67-8) | 0.06 | ≥ 90% |
|  | naphthalene (91-20-3) | 0.1 | ≥ 90% |
| carbamate | aldicarb (116-06-3) | 0.14 | ≥ 90% |
| organophosphate | methamidophos (10265-92-6) | 0.07 | ≥ 90% |
| herbicide | paraquat dichloride (1910-42-5) | 0.467 | ≥ 90% |
| radionuclide | Uranium (7440-61-1) | 0.3 | ≥ 90% |
| dissolved solid | total dissolved solids (7647-14-5) |  | N/A |