FINAL SUBMISSION COMPLETE SET

ADDENDUM #1

# ULDF 250308

# RENOVATE H8 LABORATORY,

# BUILDING 3

## Located at

AIR FORCE RESEARCH LABORATORY

INFORMATION DIRECTORATE

ROME, NEW YORK 13441

# PROJECT NR: ULDF250308				  	DATED: Sept 28, 2026

ADDENDUM #1

- Refer to the Drawings: “Attachment 1 Final Submission Complete Set”

- Refer to Sheet 41, dwg H-10, modify note 2 of the Power Roof Ventilators Schedule to read “Ductwork associated with EF-H8-CR, EF-H8-HD-1&2, H8-DR-1&2, and EF-H8-STOR shall be welded 316 Stainless Steel”.

END OF ADDENDUM #1