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ADDENDUM #1
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RENOVATE H8 LABORATORY,
BUILDING 3
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PROJECT NR: ULDF250308				  	DATED: Sept 28, 2026 


ADDENDUM #1

A. Refer to the Drawings: “Attachment 1 Final Submission Complete Set”

B. Refer to Sheet 41, dwg H-10, modify note 2 of the Power Roof Ventilators Schedule to read “Ductwork associated with EF-H8-CR, EF-H8-HD-1&2, H8-DR-1&2, and EF-H8-STOR shall be welded 316 Stainless Steel”. 

END OF ADDENDUM #1
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