## Building 1
BLDG # | DAMPER INSPECTION REPORT |  |  | Facility: VAMC Salt Lake City Inspection Date: 4/8/2022
1 | Damper Number | Damper Type | Floor | Inspected On | Location Description
| 2-FD-275 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-276 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-277 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-278 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-279 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-280 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-281 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-282 | Fire | 2nd | 2022-04-08 | Inside supply room 2A14
| 2-FD-289 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A18
| 2-FD-290 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A18
| 2-FD-283 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A20
| 2-FD-284 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A20
| 2-FD-285 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A22
| 2-FD-286 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A22
| 2-FD-287 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A22
| 2-FD-288 | Fire | 2nd | 2022-04-08 | Inside west AMU room 2A22
| 2-FD-302 | Fire | 2nd | 2022-04-08 | Inside west telemetry soiled utility 2D10
| 2-FD-310 | Fire | 2nd | 2022-04-08 | Inside west telemetry soiled utility 2D10
| 2-FD-311 | Fire | 2nd | 2022-04-08 | Inside west telemetry clean utility 2D12
| 2-FD-306 | Fire | 2nd | 2022-04-08 | Inside west telemetry room 2D27
| 2-FD-307 | Fire | 2nd | 2022-04-08 | Inside west telemetry room 2D27
| 2-FD-308 | Fire | 2nd | 2022-04-08 | Inside west telemetry room 2D27
| 2-FD-309 | Fire | 2nd | 2022-04-08 | Inside west telemetry room 2D27
| 2-FD-313 | Fire | 2nd | 2022-04-08 | Inside west telemetry room 2D29
| 2-FD-314 | Fire | 2nd | 2022-04-08 | Inside west telemetry room 2D29
| 2-FD-315 | Fire | 2nd | 2022-04-08 | Outside west telemetry room 2D20
| 2-FD-316 | Fire | 2nd | 2022-04-08 | Outside west telemetry room 2D20
| Total: | 27

## Building 3
BLDG # | DAMPER INSPECTION REPORT |  |  | Facility: VAMC Salt Lake City Inspection Date: 6/21/2022
3 | Damper Number | Damper Type | Floor | Inspected On | Location Description
| R-FD-001 | Fire | Roof | 2022-06-21 | Penthouse 1
| Total: | 1

## Building 14
BLDG # | DAMPER INSPECTION REPORT |  |  | Facility: VAMC Salt Lake City Inspection Dates: 3/23/2022 - 3/29/2022
14 | Damper Number | Damper Type | Floor | Inspected On | Location Description
| B-FD-013 | Fire | Basement | 2022-03-29 | Inside mechanical room BC08
| B-FD-019 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-020 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-021 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-022 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-023 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-024 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-025 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-026 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-027 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-028 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-029 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-030 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-031 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-032 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-033 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-034 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-035 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-036 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-037 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-038 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-039 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-040 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-041 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-042 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-043 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-044 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-045 | Fire | Basement | 2022-03-29 | Inside mechanical roomB805
| B-FD-046 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-047 | Fire | Basement | 2022-03-29 | Inside mechanical room BA18
| B-FD-048 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-049 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-050 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-051 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-052 | Fire | Basement | 2022-03-29 | Inside mechanical room BA18
| B-FD-053 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-054 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-055 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-056 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-057 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-058 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-059 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-060 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-060A | Fire | Basement | 2022-03-28 | Inside treatment room 1A01
| B-FD-061 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-062 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-063 | Fire | Basement | 2022-03-29 | Inside mechanical roomBA18
| B-FD-064 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-065 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-066 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-067 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-068 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-069 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-070 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-071 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-072 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-073 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-074 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-075 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-076 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-077 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-078 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-079 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-080 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-081 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-082 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-083 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-084 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-085 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-086 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-087 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-088 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-089 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-090 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-091 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-092 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-093 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-094 | Fire | Basement | 2022-03-29 | Inside mechanical room BB25
| B-FD-095 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-096 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-097 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-098 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-099 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-100 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-101 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-102 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-103 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-104 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-105 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-106 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-107 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-108 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-109 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-110 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-111 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-112 | Fire | Basement | 2022-03-29 | Inside mechanical room BC 03
| B-FD-113 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-114 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-115 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-116 | Fire | Basement | 2022-03-29 | Inside mechanical room BC03
| B-FD-120 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| B-FD-121 | Fire | Basement | 2022-03-29 | Inside locksmith BA02
| G-FD-001 | Fire | Ground | 2022-03-29 | Inside mens restroom GC40 by elevator G
| G-FD-002 | Fire | Ground | 2022-03-29 | Inside mens restroom GC40 by elevator G
| G-FD-003 | Fire | Ground | 2022-03-29 | Inside GC36
| G-FD-004 | Fire | Ground | 2022-03-29 | Inside GC36
| G-FD-005 | Fire | Ground | 2022-03-29 | Inside GC30AA
| G-FD-006 | Fire | Ground | 2022-03-29 | Inside GC30AA
| G-FD-007 | Fire | Ground | 2022-03-29 | Inside GC30A
| G-FD-008 | Fire | Ground | 2022-03-29 | Inside GC34
| G-FD-009 | Fire | Ground | 2022-03-29 | Inside GC34
| G-FD-010 | Fire | Ground | 2022-03-29 | Inside GC34
| G-FD-011 | Fire | Ground | 2022-03-29 | Inside GC34
| G-FD-012 | Fire | Ground | 2022-03-29 | Inside GC02 transitional patient advocate room
| G-FD-013 | Fire | Ground | 2022-03-29 | Inside GC02 transitional patient advocate room
| G-FD-014 | Fire | Ground | 2022-03-29 | Inside GC02 transitional patient advocate room
| G-FD-015 | Fire | Ground | 2022-03-29 | Inside GC02 transitional patient advocate room
| G-FD-022 | Fire | Ground | 2022-03-29 | Inside hallway by entrance to the breezeway to building 1
| G-FD-023 | Fire | Ground | 2022-03-29 | By double doors by outpatient Pharmacy waiting room
| G-FD-024 | Fire | Ground | 2022-03-29 | By double doors by outpatient Pharmacy waiting room
| G-FD-025 | Fire | Ground | 2022-03-29 | Inside hallway by double doors outside Blue clinic
| G-FD-026 | Fire | Ground | 2022-03-29 | In hallway by double doors outside Blue clinic
| G-FD-027 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-028 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-029 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-030 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-031 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-032 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-033 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-034 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-035 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-036 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-037 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic
| G-FD-038 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic by double doors
| G-FD-039 | Fire | Ground | 2022-03-29 | In hallway outside Blue clinic by double doors
| G-FD-040 | Fire | Ground | 2022-03-29 | In hallway by double doors across GB01
| G-FD-041 | Fire | Ground | 2022-03-29 | In hallway by double doors across GB01
| G-FD-044 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-045 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-046 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-049 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-047 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-048 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-050 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-051 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-052 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-053 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-054 | Fire | Ground | 2022-03-29 | Hallway Blue clinic to break room
| G-FD-055 | Fire | Ground | 2022-03-29 | Inside Blue clinic break room
| G-FD-056 | Fire | Ground | 2022-03-29 | Inside Blue clinic break room
| G-FD-057 | Fire | Ground | 2022-03-29 | Inside Blue clinic break room
| G-FD-071 | Fire | Ground | 2022-03-29 | Inside mens restroom inside E.R waiting
| G-FD-072 | Fire | Ground | 2022-03-29 | Inside mens restroom inside E.R waiting
| G-FD-073 | Fire | Ground | 2022-03-29 | Inside mens restroom inside E.R waiting
| G-FD-074 | Fire | Ground | 2022-03-29 | Inside mens restroom inside E.R waiting
| G-FD-075 | Fire | Ground | 2022-03-29 | Inside mens restroom inside E.R waiting
| G-FD-076 | Fire | Ground | 2022-03-29 | Inside Police dispatch E.R
| G-FD-077 | Fire | Ground | 2022-03-29 | Inside Police dispatch E.R
| G-FD-078 | Fire | Ground | 2022-03-29 | Inside Police dispatch E.R
| G-FD-079 | Fire | Ground | 2022-03-29 | Inside Police dispatch E.R
| G-FD-080 | Fire | Ground | 2022-03-29 | Inside Police dispatch E.R
| G-FD-081 | Fire | Ground | 2022-03-29 | Inside Police dispatch E.R
| G-FD-082 | Fire | Ground | 2022-03-29 | Inside Police dispatch E.R
| 1-FD-001 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-002 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-003 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-004 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-005 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-006 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-007 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-008 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-009 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-010 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-011 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-012 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-013 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-014 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-015 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-016 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-017 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-018 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-019 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-020 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-021 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-022 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-023 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-024 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-025 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-026 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-027 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-028 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-029 | Fire | 1st | 2022-03-28 | Inside hallway inside transfusion medicine
| 1-FD-030 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-031 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-032 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-033 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-034 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-035 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-036 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-037 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-038 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-039 | Fire | 1st | 2022-03-28 | Outside 1B19 specimen receiving hallway
| 1-FD-040 | Fire | 1st | 2022-03-28 | Outside 1B17 in specimen receiving hallway
| 1-FD-041 | Fire | 1st | 2022-03-28 | Outside 1B17 transfusion services
| 1-FD-042 | Fire | 1st | 2022-03-28 | Outside 1B17 transfusion services
| 1-FD-043 | Fire | 1st | 2022-03-28 | Outside 1B17 transfusion services
| 1-FD-044 | Fire | 1st | 2022-03-28 | Outside 1B19 transfusion services
| 1-FD-045 | Fire | 1st | 2022-03-28 | Outside 1B17 transfusion services
| 1-FD-046 | Fire | 1st | 2022-03-28 | Outside 1B17 transfusion services
| 1-FD-047 | Fire | 1st | 2022-03-28 | Outside 1B15 ancillary testing
| 1-FD-048 | Fire | 1st | 2022-03-28 | Outside 1B15 ancillary testing
| 1-FD-049 | Fire | 1st | 2022-03-28 | Outside 1B15 ancillary testing
| 1-FD-050 | Fire | 1st | 2022-03-28 | Outside 1B15 ancillary testing
| 1-FD-051 | Fire | 1st | 2022-03-28 | Outside 1B15 ancillary testing
| 1-FD-052 | Fire | 1st | 2022-03-28 | Outside 1B09
| 1-FD-053 | Fire | 1st | 2022-03-28 | Outside 1B09
| 1-FD-054 | Fire | 1st | 2022-03-28 | Outside 1B09
| 1-FD-055 | Fire | 1st | 2022-03-28 | Outside 1B07
| 1-FD-056 | Fire | 1st | 2022-03-28 | Outside 1B07
| 1-FD-057 | Fire | 1st | 2022-03-28 | Outside 1B05
| 1-FD-058 | Fire | 1st | 2022-03-28 | Outside 1B05
| 1-FD-059 | Fire | 1st | 2022-03-28 | Outside 1B05
| 1-FD-060 | Fire | 1st | 2022-03-28 | Outside 1B05
| 1-FD-062 | Fire | 1st | 2022-03-28 | Inside treatment room 1A01
| 1-FD-063 | Fire | 1st | 2022-03-28 | Inside treatment room 1A01
| 1-FD-064 | Fire | 1st | 2022-03-28 | Inside treatment room 1A01B
| 1-FD-065 | Fire | 1st | 2022-03-28 | Inside treatment room 1A01B
| 1-FD-066 | Fire | 1st | 2022-03-28 | Inside treatment room 1A01B
| 1-FD-067 | Fire | 1st | 2022-03-28 | Inside 1A03
| 1-FD-068 | Fire | 1st | 2022-03-28 | Inside 1A03
| 1-FD-069 | Fire | 1st | 2022-03-28 | Inside 1A03
| 1-FD-070 | Fire | 1st | 2022-03-28 | Inside 1A05
| 1-FD-071 | Fire | 1st | 2022-03-28 | Inside 1A05
| 1-FD-072 | Fire | 1st | 2022-03-28 | Inside 1A05
| 1-FD-073 | Fire | 1st | 2022-03-28 | Inside 1A07 inside 1A05
| 1-FD-074 | Fire | 1st | 2022-03-28 | Inside 1A07 inside 1A05
| 1-FD-075 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator H
| 1-FD-076 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator H
| 1-FD-077 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator H
| 1-FD-078 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator H
| 1-FD-079 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator H
| 1-FD-080 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator G
| 1-FD-081 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator G
| 1-FD-082 | Fire | 1st | 2022-03-29 | Inside womens restroom by elevator G
| 1-FD-083 | Fire | 1st | 2022-03-29 | Inside 1C21
| 1-FD-084 | Fire | 1st | 2022-03-29 | Inside 1C21
| 1-FD-085 | Fire | 1st | 2022-03-29 | Inside 1C21
| 1-FD-086 | Fire | 1st | 2022-03-29 | Inside 1C21
| 1-FD-092 | Fire | 1st | 2022-03-29 | Inside 1C01
| 1-FD-093 | Fire | 1st | 2022-03-29 | Inside 1C01
| 1-FD-094 | Fire | 1st | 2022-03-29 | Inside 1C01B
| 1-FD-095 | Fire | 1st | 2022-03-29 | Inside 1C01B
| 1-FD-102 | Fire | 1st | 2022-03-29 | Inside 1C01C
| 1-FD-104 | Fire | 1st | 2022-03-29 | Inside mens restroom 1A104CA
| 1-FD-105 | Fire | 1st | 2022-03-29 | Inside mens restroom 1A104CA
| 1-FD-106 | Fire | 1st | 2022-03-29 | Inside mens restroom 1A104CA
| 1-FD-042 | Fire | 1st | 2022-03-29 | Inside hallway by double doors across GB01
| 1-FD-061 | Fire | 1st | 2022-03-29 | Inside treatment room 1A01
| 2-FD-001 | Fire | 2nd | 2022-03-24 | Inside womens restroom by elevator G
| 2-FD-002 | Fire | 2nd | 2022-03-24 | Inside womens restroom by elevator G
| 2-FD-003 | Fire | 2nd | 2022-03-24 | Inside womens restroom by elevator G
| 2-FD-004 | Fire | 2nd | 2022-03-24 | Inside ACNS medical/surgery office 2B25
| 2-FD-005 | Fire | 2nd | 2022-03-24 | Inside ACNS medical/surgery office 2B25
| 2-FD-008 | Fire | 2nd | 2022-03-25 | Inside 2C09
| 2-FD-007 | Fire | 2nd | 2022-03-25 | Inside room 2C09
| 2-FD-009 | Fire | 2nd | 2022-03-25 | Inside 2C11 inside 2C13
| 2-FD-010 | Fire | 2nd | 2022-03-25 | Inside 2C11 inside 2C13
| 2-FD-011 | Fire | 2nd | 2022-03-25 | Inside 2C11 inside 2C13
| 2-FD-014 | Fire | 2nd | 2022-03-25 | Inside dialysis room 1
| 2-FD-015 | Fire | 2nd | 2022-03-25 | Inside dialysis room 1
| 2-FD-016 | Fire | 2nd | 2022-03-25 | Inside dialysis room 1
| 2-FD-018 | Fire | 2nd | 2022-03-25 | Inside dialysis room 2
| 2-FD-019 | Fire | 2nd | 2022-03-25 | Inside dialysis room 2
| 2-FD-017 | Fire | 2nd | 2022-03-25 | Inside dialysis room 2
| 2-FD-023 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-024 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-025 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-026 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-027 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-028 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-029 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-030 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-031 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-032 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-033 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-034 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-035 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-036 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-037 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-038 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-039 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-040 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-041 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-042 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-043 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-044 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-045 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-046 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-047 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-048 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-049 | Fire | 2nd | 2022-03-25 | South hallway through double doors with security access by elevator G and stairwell
| 2-FD-050 | Fire | 2nd | 2022-03-25 | Inside 2B01 Hematology / Oncology case manager office
| 2-FD-051 | Fire | 2nd | 2022-03-25 | Inside 2B01 Hematology / Oncology case manager office
| 2-FD-052 | Fire | 2nd | 2022-03-25 | Inside 2B01 Hematology / Oncology attending office
| 2-FD-053 | Fire | 2nd | 2022-03-25 | Inside 2B03 Hematology / Oncology attending office
| 2-FD-054 | Fire | 2nd | 2022-03-25 | Inside 2B07 Hematology/Oncology attending office
| 2-FD-055 | Fire | 2nd | 2022-03-25 | Inside 2B07 Hematology/Oncology attending office
| 2-FD-056 | Fire | 2nd | 2022-03-25 | Inside 2B07 Hematology/Oncology attending office
| 2-FD-060 | Fire | 2nd | 2022-03-25 | Inside 2B11 Rheumatology work room
| 2-FD-061 | Fire | 2nd | 2022-03-25 | Inside 2B13 storage room
| 2-FD-062 | Fire | 2nd | 2022-03-25 | Inside 2B13 storage room
| 2-FD-063 | Fire | 2nd | 2022-03-25 | Inside 2B13 storage room
| 2-FD-064 | Fire | 2nd | 2022-03-25 | Inside 2B13 storage room
| 2-FD-065 | Fire | 2nd | 2022-03-25 | Inside 2B13 storage room
| 2-FD-057 | Fire | 2nd | 2022-03-25 | Inside 2B09 Hematology/ Oncology team room
| 2-FD-058 | Fire | 2nd | 2022-03-25 | Inside 2B09 Hematology/ Oncology team room
| 2-FD-059 | Fire | 2nd | 2022-03-25 | Inside 2B09 Hematology/ Oncology team room
| 2-FD-066 | Fire | 2nd | 2022-03-25 | Inside 2B15 Ambulatory care office
| 2-FD-067 | Fire | 2nd | 2022-03-25 | Inside 2B15 Ambulatory care office
| 2-FD-068 | Fire | 2nd | 2022-03-26 | Inside 2B17 infectious disease work room
| 2-FD-069 | Fire | 2nd | 2022-03-26 | Inside 2B17 infectious disease work room
| 2-FD-070 | Fire | 2nd | 2022-03-26 | Inside 2B19 antimicrobial stewardship program room
| 2-FD-071 | Fire | 2nd | 2022-03-26 | Inside 2B19 antimicrobial stewardship program room
| 2-FD-072 | Fire | 2nd | 2022-03-26 | Inside 2B19 antimicrobial stewardship program room
| 2-FD-073 | Fire | 2nd | 2022-03-26 | Inside 2B21 hospitalist office
| 2-FD-074 | Fire | 2nd | 2022-03-27 | Inside 2B23 hospitalist office
| 2-FD-075 | Fire | 2nd | 2022-03-27 | Inside 2B23 hospitalist office
| 2-FD-076 | Fire | 2nd | 2022-03-27 | Inside 2B23 hospitalist office
| 2-FD-077 | Fire | 2nd | 2022-03-27 | Inside 2C01 dialysis nurse manager office
| 2-FD-078 | Fire | 2nd | 2022-03-27 | Inside 2C01 dialysis nurse manager office
| 2-FD-079 | Fire | 2nd | 2022-03-27 | Inside 2C02 program specialist medicine services office
| 2-FD-080 | Fire | 2nd | 2022-03-27 | Inside 2C02 program specialist medicine services office
| 2-FD-081 | Fire | 2nd | 2022-03-27 | Inside 2C04 renal work office
| 2-FD-082 | Fire | 2nd | 2022-03-27 | Inside 2C04 renal work office
| 2-FD-083 | Fire | 2nd | 2022-03-27 | Inside 2C04 renal work office
| 2-FD-084 | Fire | 2nd | 2022-03-27 | Inside 2A35A
| 2-FD-085 | Fire | 2nd | 2022-03-27 | Inside 2A35A
| 2-FD-087 | Fire | 2nd | 2022-03-27 | Inside bathroom by 2A35
| 2-FD-089 | Fire | 2nd | 2022-03-27 | Inside 2A34A
| 2-FD-090 | Fire | 2nd | 2022-03-27 | Inside 2A34A
| 2-FD-091 | Fire | 2nd | 2022-03-27 | Inside on call room 2A39
| 2-FD-092 | Fire | 2nd | 2022-03-27 | Inside on call room 2A39
| 2-FD-093 | Fire | 2nd | 2022-03-27 | Inside on call room 2A39
| 2-FD-094 | Fire | 2nd | 2022-03-27 | Inside bathroom inside on call room 2A39
| 2-FD-095 | Fire | 2nd | 2022-03-27 | Inside bathroom inside on call room 2A39
| 2-FD-096 | Fire | 2nd | 2022-03-27 | Inside 2A03 North wall
| 2-FD-097 | Fire | 2nd | 2022-03-27 | Inside 2A03 North wall
| 2-FD-098 | Fire | 2nd | 2022-03-27 | Inside 2A05 North wall
| 2-FD-099 | Fire | 2nd | 2022-03-27 | Inside 2A05 North wall
| 2-FD-100 | Fire | 2nd | 2022-03-27 | Inside break room 2A07 North wall
| 2-FD-101 | Fire | 2nd | 2022-03-27 | Inside break room 2A07 North wall
| 2-FD-102 | Fire | 2nd | 2022-03-27 | Inside break room 2A07 North wall
| 2-FD-103 | Fire | 2nd | 2022-03-27 | Inside break room 2A07 North wall
| 2-FD-104 | Fire | 2nd | 2022-03-27 | Inside chief of medicine's office 2A09 North wall
| 2-FD-105 | Fire | 2nd | 2022-03-28 | Inside 2A01 North wall
| 2-FD-106 | Fire | 2nd | 2022-03-28 | Inside 2B05 Pharmacy director of Hematology/Oncology
| 2-FD-107 | Fire | 2nd | 2022-03-28 | Inside 2B05 Pharmacy director of Hematology/Oncology
| 2-FD-012 | Fire | 2nd | 2022-03-28 | Inside 2C11 in room 2C13
| 3-FD-001 | Fire | 3rd | 2022-03-23 | Inside hatch inside tank room 3 B42
| 3-FD-001A | Fire | 3rd | 2022-03-24 | Inside hallway across from tank room inside O.R past double doors
| 3-FD-002 | Fire | 3rd | 2022-03-23 | Inside hatch inside tank room 3 B42
| 3-FD-002A | Fire | 3rd | 2022-03-24 | Inside hallway across from tank room inside O.R past double doors
| 3-FD-003 | Fire | 3rd | 2022-03-23 | Inside hatch inside tank room 3 B42
| 3-FD-003A | Fire | 3rd | 2022-03-24 | Inside hallway across from tank room inside O.R past double doors
| 3-FD-004 | Fire | 3rd | 2022-03-23 | Above double doors to O.R supply room
| 3-FD-005 | Fire | 3rd | 2022-03-23 | Above double doors to O.R supply room
| 3-FD-006 | Fire | 3rd | 2022-03-24 | Inside O.R room above shelve/ windows
| 3-FD-007 | Fire | 3rd | 2022-03-24 | Inside O.R room above shelve/ windows
| 3-FD-008 | Fire | 3rd | 2022-03-24 | Inside O.R room above shelve/ windows
| 3-FD-009 | Fire | 3rd | 2022-03-23 | Inside surgical services office 3C08F
| 3-FD-010 | Fire | 3rd | 2022-03-23 | Inside surgical services office 3C08F
| 3-FD-011 | Fire | 3rd | 2022-03-23 | Inside surgical services office 3C08G
| 3-FD-013 | Fire | 3rd | 2022-03-23 | Inside residents day use room 3C103
| 3-FD-012 | Fire | 3rd | 2022-03-23 | Inside residents day use room 3C103
| 3-FD-014 | Fire | 3rd | 2022-03-23 | Inside residents day use room 3C103
| 3-FD-015 | Fire | 3rd | 2022-03-23 | Inside residents day use room 3C103
| 3-FD-016 | Fire | 3rd | 2022-03-23 | Inside residents day use room 3C103
| 3-FD-017 | Fire | 3rd | 2022-03-23 | Inside hallway outside residents day use room 3C103
| 3-FD-018 | Fire | 3rd | 2022-03-24 | North hallway West and above double doors
| 3-FD-019 | Fire | 3rd | 2022-03-23 | North hallway West end by double doors
| 3-FD-020 | Fire | 3rd | 2022-03-23 | North hallway West end by double doors
| 3-FD-021 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-022 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-023 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-024 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-025 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-026 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-027 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-028 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-029 | Fire | 3rd | 2022-03-23 | Inside North hallway West end
| 3-FD-030 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-031 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-032 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-033 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-034 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-035 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-036 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-037 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-038 | Fire | 3rd | 2022-03-24 | Inside North hallway West end
| 3-FD-039 | Fire | 3rd | 2022-03-24 | Inside North hallway West end by family waiting room
| 3-FD-040 | Fire | 3rd | 2022-03-24 | Inside North hallway West end by family waiting room
| 3-FD-041 | Fire | 3rd | 2022-03-24 | Inside North hallway West end by family waiting room
| 3-FD-042 | Fire | 3rd | 2022-03-24 | Inside North hallway West end by family waiting room
| 3-FD-043 | Fire | 3rd | 2022-03-24 | Inside North hallway West end by family waiting room
| 3-FD-044 | Fire | 3rd | 2022-03-24 | Inside North hallway West end by family waiting room
| 3-FD-046 | Fire | 3rd | 2022-03-24 | Inside womens restroom 3C34 right side of wall
| 3-FD-047 | Fire | 3rd | 2022-03-24 | Inside womens restroom 3C34 right side of wall
| 3-FD-048 | Fire | 3rd | 2022-03-24 | Inside womens restroom 3C34 right side of wall
| 3-FSD-045 | Combination | 3rd | 2022-03-24 | Inside North hallway West end by family waiting room above double doors
| 3-FD-049 | Fire | 3rd | 2022-03-24 | Outside womens restroom 3C34
| 3-FD-050 | Fire | 3rd | 2022-03-24 | Inside surgical services office 3C26
| 3-FD-051 | Fire | 3rd | 2022-03-24 | Inside surgical services office 3C26
| 3-FD-052 | Fire | 3rd | 2022-03-24 | Inside surgical services office 3C26
| 3-FD-053 | Fire | 3rd | 2022-03-24 | Inside surgical services office 3C26
| 3-FD-054 | Fire | 3rd | 2022-03-24 | Inside surgical services office 3C28
| 3-FD-055 | Fire | 3rd | 2022-03-24 | Inside surgical services office 3C28
| 3-FD-056 | Fire | 3rd | 2022-03-24 | Inside surgical services office 3C28
| 3-FD-057 | Fire | 3rd | 2022-03-24 | Inside post op 4
| 3-FD-058 | Fire | 3rd | 2022-03-24 | Inside post op 4
| 3-FD-059 | Fire | 3rd | 2022-03-24 | Inside post op 4
| 3-FD-060 | Fire | 3rd | 2022-03-24 | Inside post op 4
| 3-FD-061 | Fire | 3rd | 2022-03-24 | Inside post op 4
| 3-FD-062 | Fire | 3rd | 2022-03-24 | Inside post op 4
| 3-FD-063 | Fire | 3rd | 2022-03-24 | Inside pre op exam room 3A05
| 3-FD-064 | Fire | 3rd | 2022-03-24 | Inside pre op exam room 3A05
| 3-FD-065 | Fire | 3rd | 2022-03-24 | Inside pre op exam room 3A05
| 3-FD-066 | Fire | 3rd | 2022-03-24 | Inside pre op exam room 3A05
| 3-FD-067 | Fire | 3rd | 2022-03-24 | Inside waiting room 3A05 by reception desk
| 3-FD-068 | Fire | 3rd | 2022-03-24 | Inside waiting room 3A05 by reception desk
| 3-FD-069 | Fire | 3rd | 2022-03-24 | Inside waiting room 3A05
| 3-FD-070 | Fire | 3rd | 2022-03-24 | Inside waiting room 3A05
| 3-FD-071 | Fire | 3rd | 2022-03-24 | Inside electrical room outside post op
| Total: | 432